## ira, low, solar, 2
https://www.nrel.gov/docs/fy19osti/71714.pdf | AC COST BREAKDOWN ($ millions) | [8 empty] | DC COST BREAKDOWN
| standalone pv cost breakdown (77 MW) | standalone storage cost breakdown (46 MW/240 MWh) | co-located dc-coupled (pv + storage) | added up costs | different sites dc-coupled (pv + storage) | cost savings |  | AC/DC? |  | pv dc (100 MW DC) | storage dc (60 MW/240 MWh) | inverter ac costs (77 MW AC) |  | sum!
PV module | 33412550.8583 | 0 | 33412550.8583 | 33412550.8583 | 33412550.8583 |  |  | DC | PV module | 33412550.8583 | 0 | 0 |  | 33412550.8583 |  |  | 2018 $ --> 2022 $ | 1.13 |  |  |  | 2022 $
li-ion battery | 0 | 53166050.9258 | 53166050.9258 | 53166050.9258 | 53166050.9258 |  |  | DC | li-ion battery | 0 | 53166050.9258 | 0 |  | 53166050.9258
solar inverter | 3838758.1409 | 0 | 0 | 3838758.1409 | 3838758.1409 |  |  |  | solar inverter | 0 | 0 | 0 |  | 0 |  | Step 1: 2018 Co-Located Capital Cost Breakdown |  |  |  |  | Step 2: 2030 Find Proportion of Capital Costs (LOW)
bidirectional inverter | 0 | 3537799.5026 | 4535640.388 | 3537799.5026 | 3537799.5026 |  |  | inverter | bidirectional inverter | 0 | 0 | 4535640.388 |  | 4535640.388 |  |  |  | Assumptions
structural BOS | 12478572.6887 | 782283.3983 | 13806843.0489 | 13260856.0869 | 13260856.0869 | -0.041173 |  | DC | structural BOS | 12478572.6887 | 1328270.3603 | 0 |  | 13806843.0489 |  | PV ($/MW-ac) | 1309972.1084 | 77 MW AC PV |  |  | PV ($/MW-ac) | 974897.121
electrical BOS | 7220844.4979 | 9190374.9687 | 16895206.936 | 16411219.4665 | 16411219.4665 | -0.029491 |  | DC | electrical BOS | 7433796.2693 | 9461410.6667 | 0 |  | 16895206.936 |  | Storage ($/MWh-ac) | 424188.9706 | 240 MWh AC |  |  | Storage ($/MWh-ac) | 231160.909 | 275673.3422
installation labor/equipment | 11069288.3127 | 4119935.2325 | 14118324.7414 | 15189223.5452 | 15189223.5452 | 0.070504 |  | split 4-ways | installation labor/equipment | 6072034.0432 | 7282549.7537 | 763740.9446 |  | 14118324.7414 | [6 empty] | Storage ($/MW-ac) | 178049.733
EPC overhead | 5410367.763 | 2558661.8116 | 5826648.7144 | 7969029.5746 | 7969029.5746 | 0.26884 |  | split 4-ways | EPC overhead | 2505935.3712 | 3005516.5848 | 315196.7584 |  | 5826648.7144
sales tax | 3810547.0484 | 3960296.3977 | 7308977.5294 | 7770843.4461 | 7770843.4461 | 0.059436 |  | split 4-ways | sales tax | 3143457.9663 | 3770135.1599 | 395384.4032 |  | 7308977.5294 |  | PV ($/MW-dc) | 811187.082 | 100 MW DC PV |  |  | PV 2030:2018 Ratio | 0.74421
land acquisition | 0 | 0 | 0 | 0 | 0 | #DIV/0! |  | split 4-ways | land acquisition | 0 | 0 | 0 |  | 0 |  | Storage ($/MWh-dc) | 405376.9463 | 240 MWh DC STOR |  |  | Storage MWh 2030:2018 Ratio | 0.54495 | 0.64988
permitting fee | 196947.8242 | 181803.5856 | 181803.5856 | 378751.4098 | 378751.4098 | 0.51999 |  | split 4-ways | permitting fee | 78190.4072 | 93778.3825 | 9834.7959 |  | 181803.5856 |  | Inverter ($/MW-ac) | 132508.0238 | 77 MW AC GRID
interconnection fee | 2171572.4406 | 1302943.4643 | 2171572.4406 | 3474515.9049 | 3474515.9049 | 0.375 |  | inverter | interconnection fee | 0 | 0 | 2171572.4406 |  | 2171572.4406
contingency | 2429689.9572 | 2319958.3997 | 3762732.2909 | 4749648.3569 | 4749648.3569 | 0.20779 |  | split 4-ways | contingency | 1618282.5501 | 1940902.0277 | 203547.7131 |  | 3762732.2909
developer overhead | 1719057.6822 | 4702899.3419 | 5016976.3879 | 6421957.0241 | 6421957.0241 | 0.21878 |  | split 4-ways | developer overhead | 2157710.0668 | 2587869.3703 | 271396.9508 |  | 5016976.3879 | [6 empty] | PV ($/MW-dc) | 603695.2587 |  | 570582.2611
EPC/developer net profit | 4250646.9364 | 4270225.672 | 6710205.9188 | 8520872.6084 | 8520872.6084 | 0.2125 |  | split 4-ways | EPC/developer net profit | 2885937.2144 | 3461275.2827 | 362993.4217 |  | 6710205.9188 | [6 empty] | Storage ($/MWh-dc) | 263447.7212 |  | 223715.5759
sum | 89.2636 | 90.0932 | 168.1683 |  | 179.3568 |  |  |  | sum | 71.7865 | 86.0978 | 9.0293 |  | 168.7968 | [6 empty] | Inverter ($/MW-ac) | 98614.0774 |  | 93191.8753
|  |  | 0.93762 |  | 162204646.5991
[9 empty] | Ratio of AC:DC Costs | 0.80421 | 0.95565 | [9 empty] | SUM COSTS | 965757.0573
[9 empty] | Percentage Increase from Baseline Inverter Cost |  |  | 0.00013462
[9 empty] | Subcomponent cost | 53324919.8163 | 63955731.9528 | 6707212.8286
[9 empty] | % of total cost | 0.43008 | 0.51582 | 0.054096
PV AC Costs | [15 empty] | Step 3: Annuitize Costs (2.5%, 30 years, PV Multipliers) |  |  |  |  | Substation Costs AC (4.4%, 60 years) |  |  | Inverter Costs AC (2.5%, 15 years,PV Multipliers) | https://www.nrel.gov/docs/fy20osti/74111.pdf | [6 empty] | Battery Pack (2.5%, 15 years, Bat Multipliers)
region | Resource | technology | Max_Cap_MW | capex_mw | Inv_Cost_per_MWyr | Fixed_OM_Cost_per_MWyr | interconnect_annuity | regional_cost_multiplier | wacc_real | lcoe | cap_recovery_years | calculated_inv | R_ID | ITC |  | Capex ($/MW) | Regional Capex ($/MW) | Investment Costs ($/MW-dc/yr) | Fixed O&M Costs |  | Investment Costs ($/MW-dc/yr) | Fixed O&M Costs |  | Capex ($/MW) | Regional Capex ($/MW) | Investment Costs ($/MW-dc/yr) | Fixed O&M Costs | Bat Multipliers | Total $/MW | Original AC $/MW | Percent Difference | Investment $/MWh-Dc | Fixed O&M $/MW/yr | IRA PLUS GRID
CA_N | CA_N_utilitypv_class1_advanced_0 | UtilityPV_Class1_Advanced_ | 7535.7 | 974897.121 | 53467 | 18611 | 2913.821 | 1.084 | 0.025 | 35.743 | 30 | 53617.0656 | 170 | 0.468 |  | 603695.2587 | 654405.6604 | 31397.4754 | 11724.93 |  | 2913.821 | 1861.1 |  | 98614.0774 | 102657.2546 | 4421.1831 | 5024.97 | 1.041 | 53178.1556 | 53467 | 0.0054023 | 11811.2003 | 6586.193 | 1550.1528
CA_N | CA_N_utilitypv_class1_advanced_1 | UtilityPV_Class1_Advanced_ | 3874.6 | 974897.121 | 55016 | 18611 | 4462.142 | 1.084 | 0.025 | 35.596 | 30 | 55165.3866 | 171 | 0.468 |  | 603695.2587 | 654405.6604 | 31397.4754 | 11724.93 |  | 4462.142 | 1861.1 |  | 98614.0774 | 102657.2546 | 4421.1831 | 5024.97 | 1.041 | 54726.4766 | 55016 | 0.0052625 | 11811.2003 | 6586.193 | 2373.8595
CA_N | CA_N_utilitypv_class1_advanced_2 | UtilityPV_Class1_Advanced_ | 12668.9 | 974897.121 | 59232 | 18611 | 8678.811 | 1.084 | 0.025 | 37.658 | 30 | 59382.0556 | 172 | 0.468 |  | 603695.2587 | 654405.6604 | 31397.4754 | 11724.93 |  | 8678.811 | 1861.1 |  | 98614.0774 | 102657.2546 | 4421.1831 | 5024.97 | 1.041 | 58943.1456 | 59232 | 0.0048767 | 11811.2003 | 6586.193 | 4617.1275
CA_N | CA_N_utilitypv_class1_advanced_3 | UtilityPV_Class1_Advanced_ | 10563.9 | 974897.121 | 57024 | 18611 | 6470.444 | 1.084 | 0.025 | 37.601 | 30 | 57173.6886 | 173 | 0.468 |  | 603695.2587 | 654405.6604 | 31397.4754 | 11724.93 |  | 6470.444 | 1861.1 |  | 98614.0774 | 102657.2546 | 4421.1831 | 5024.97 | 1.041 | 56734.7786 | 57024 | 0.0050719 | 11811.2003 | 6586.193 | 3442.2762
CA_N | CA_N_utilitypv_class1_advanced_4 | UtilityPV_Class1_Advanced_ | 10512.4 | 974897.121 | 62484 | 18611 | 11930.837 | 1.084 | 0.025 | 38.98 | 30 | 62634.0816 | 174 | 0.468 |  | 603695.2587 | 654405.6604 | 31397.4754 | 11724.93 |  | 11930.837 | 1861.1 |  | 98614.0774 | 102657.2546 | 4421.1831 | 5024.97 | 1.041 | 62195.1716 | 62484 | 0.0046224 | 11811.2003 | 6586.193 | 6347.2053
CA_N | CA_N_utilitypv_class1_advanced_5 | UtilityPV_Class1_Advanced_ | 14236.8 | 974897.121 | 60364 | 18611 | 9810.042 | 1.084 | 0.025 | 39.059 | 30 | 60513.2866 | 175 | 0.468 |  | 603695.2587 | 654405.6604 | 31397.4754 | 11724.93 |  | 9810.042 | 1861.1 |  | 98614.0774 | 102657.2546 | 4421.1831 | 5024.97 | 1.041 | 60074.3766 | 60364 | 0.0047979 | 11811.2003 | 6586.193 | 5218.9423
CA_S | CA_S_utilitypv_class1_advanced_0 | UtilityPV_Class1_Advanced_ | 6812.9 | 974897.121 | 52268 | 18611 | 2905.887 | 1.059 | 0.025 | 34.575 | 30 | 52439.7763 | 187 | 0.468 |  | 603695.2587 | 639313.2789 | 30673.3639 | 11724.93 |  | 2905.887 | 1861.1 |  | 98614.0774 | 102755.8687 | 4425.4302 | 5024.97 | 1.042 | 52129.0017 | 52268 | 0.0026593 | 11822.5464 | 6586.193 | 1545.9319
CA_S | CA_S_utilitypv_class1_advanced_1 | UtilityPV_Class1_Advanced_ | 4305 | 974897.121 | 54811 | 18611 | 5448.393 | 1.059 | 0.025 | 34.374 | 30 | 54982.2823 | 188 | 0.468 |  | 603695.2587 | 639313.2789 | 30673.3639 | 11724.93 |  | 5448.393 | 1861.1 |  | 98614.0774 | 102755.8687 | 4425.4302 | 5024.97 | 1.042 | 54671.5077 | 54811 | 0.002545 | 11822.5464 | 6586.193 | 2898.5451
CA_S | CA_S_utilitypv_class1_advanced_2 | UtilityPV_Class1_Advanced_ | 12643.6 | 974897.121 | 61284 | 18611 | 11921.844 | 1.059 | 0.025 | 36.623 | 30 | 61455.7333 | 189 | 0.468 |  | 603695.2587 | 639313.2789 | 30673.3639 | 11724.93 |  | 11921.844 | 1861.1 |  | 98614.0774 | 102755.8687 | 4425.4302 | 5024.97 | 1.042 | 61144.9587 | 61284 | 0.0022688 | 11822.5464 | 6586.193 | 6342.421
CA_S | CA_S_utilitypv_class1_advanced_3 | UtilityPV_Class1_Advanced_ | 4016.6 | 974897.121 | 56108 | 18611 | 6745.124 | 1.059 | 0.025 | 36.281 | 30 | 56279.0133 | 190 | 0.468 |  | 603695.2587 | 639313.2789 | 30673.3639 | 11724.93 |  | 6745.124 | 1861.1 |  | 98614.0774 | 102755.8687 | 4425.4302 | 5024.97 | 1.042 | 55968.2387 | 56108 | 0.0024909 | 11822.5464 | 6586.193 | 3588.406
CA_S | CA_S_utilitypv_class1_advanced_4 | UtilityPV_Class1_Advanced_ | 12844.5 | 974897.121 | 66613 | 18611 | 17250.161 | 1.059 | 0.025 | 38.711 | 30 | 66784.0503 | 191 | 0.468 |  | 603695.2587 | 639313.2789 | 30673.3639 | 11724.93 |  | 17250.161 | 1861.1 |  | 98614.0774 | 102755.8687 | 4425.4302 | 5024.97 | 1.042 | 66473.2757 | 66613 | 0.0020976 | 11822.5464 | 6586.193 | 9177.0857
CA_S | CA_S_utilitypv_class1_advanced_5 | UtilityPV_Class1_Advanced_ | 1365.2 | 974897.121 | 62568 | 18611 | 13205.952 | 1.059 | 0.025 | 38.645 | 30 | 62739.8413 | 192 | 0.468 |  | 603695.2587 | 639313.2789 | 30673.3639 | 11724.93 |  | 13205.952 | 1861.1 |  | 98614.0774 | 102755.8687 | 4425.4302 | 5024.97 | 1.042 | 62429.0667 | 62568 | 0.0022205 | 11822.5464 | 6586.193 | 7025.5665
WECC_AZ | WECC_AZ_utilitypv_class1_advanced_0 | UtilityPV_Class1_Advanced_ | 9012.3 | 974897.121 | 48185 | 18611 | 3167.206 | 0.965 | 0.025 | 31.866 | 30 | 48304.3195 | 201 | 0.468 |  | 603695.2587 | 582565.9246 | 27950.7046 | 11724.93 |  | 3167.206 | 1861.1 |  | 98614.0774 | 99797.4463 | 4298.0186 | 5024.97 | 1.012 | 48316.0221 | 48185 | -0.0027191 | 11482.1659 | 6586.193 | 1684.9536
WECC_AZ | WECC_AZ_utilitypv_class1_advanced_1 | UtilityPV_Class1_Advanced_ | 10858.3 | 974897.121 | 47554 | 18611 | 2536.349 | 0.965 | 0.025 | 32.284 | 30 | 47673.4625 | 202 | 0.468 |  | 603695.2587 | 582565.9246 | 27950.7046 | 11724.93 |  | 2536.349 | 1861.1 |  | 98614.0774 | 99797.4463 | 4298.0186 | 5024.97 | 1.012 | 47685.1651 | 47554 | -0.0027582 | 11482.1659 | 6586.193 | 1349.3377
WECC_AZ | WECC_AZ_utilitypv_class1_advanced_2 | UtilityPV_Class1_Advanced_ | 55406.5 | 974897.121 | 51441 | 18611 | 6423.252 | 0.965 | 0.025 | 34.002 | 30 | 51560.3655 | 203 | 0.468 |  | 603695.2587 | 582565.9246 | 27950.7046 | 11724.93 |  | 6423.252 | 1861.1 |  | 98614.0774 | 99797.4463 | 4298.0186 | 5024.97 | 1.012 | 51572.0681 | 51441 | -0.0025479 | 11482.1659 | 6586.193 | 3417.1701
WECC_AZ | WECC_AZ_utilitypv_class1_advanced_3 | UtilityPV_Class1_Advanced_ | 47926.6 | 974897.121 | 53655 | 18611 | 8637.135 | 0.965 | 0.025 | 34.234 | 30 | 53774.2485 | 204 | 0.468 |  | 603695.2587 | 582565.9246 | 27950.7046 | 11724.93 |  | 8637.135 | 1861.1 |  | 98614.0774 | 99797.4463 | 4298.0186 | 5024.97 | 1.012 | 53785.9511 | 53655 | -0.0024406 | 11482.1659 | 6586.193 | 4594.9558
WECC_AZ | WECC_AZ_utilitypv_class1_advanced_4 | UtilityPV_Class1_Advanced_ | 93964.7 | 974897.121 | 59610 | 18611 | 14592.597 | 0.965 | 0.025 | 36.588 | 30 | 59729.7105 | 205 | 0.468 |  | 603695.2587 | 582565.9246 | 27950.7046 | 11724.93 |  | 14592.597 | 1861.1 |  | 98614.0774 | 99797.4463 | 4298.0186 | 5024.97 | 1.012 | 59741.4131 | 59610 | -0.0022045 | 11482.1659 | 6586.193 | 7763.2616
WECC_AZ | WECC_AZ_utilitypv_class1_advanced_5 | UtilityPV_Class1_Advanced_ | 41266.4 | 974897.121 | 56734 | 18611 | 11716.691 | 0.965 | 0.025 | 36.05 | 30 | 56853.8045 | 206 | 0.468 |  | 603695.2587 | 582565.9246 | 27950.7046 | 11724.93 |  | 11716.691 | 1861.1 |  | 98614.0774 | 99797.4463 | 4298.0186 | 5024.97 | 1.012 | 56865.5071 | 56734 | -0.002318 | 11482.1659 | 6586.193 | 6233.2796
WECC_AZ | WECC_AZ_utilitypv_class1_advanced_6 | UtilityPV_Class1_Advanced_ | 101018.5 | 974897.121 | 64449 | 18611 | 19431.433 | 0.965 | 0.025 | 38.809 | 30 | 64568.5465 | 207 | 0.468 |  | 603695.2587 | 582565.9246 | 27950.7046 | 11724.93 |  | 19431.433 | 1861.1 |  | 98614.0774 | 99797.4463 | 4298.0186 | 5024.97 | 1.012 | 64580.2491 | 64449 | -0.0020365 | 11482.1659 | 6586.193 | 10337.5224
WECC_AZ | WECC_AZ_utilitypv_class1_advanced_7 | UtilityPV_Class1_Advanced_ | 41078.1 | 974897.121 | 67034 | 18611 | 22016.967 | 0.965 | 0.025 | 38.988 | 30 | 67154.0805 | 208 | 0.468 |  | 603695.2587 | 582565.9246 | 27950.7046 | 11724.93 |  | 22016.967 | 1861.1 |  | 98614.0774 | 99797.4463 | 4298.0186 | 5024.97 | 1.012 | 67165.7831 | 67034 | -0.0019659 | 11482.1659 | 6586.193 | 11713.0264
WECC_CO | WECC_CO_utilitypv_class1_advanced_0 | UtilityPV_Class1_Advanced_ | 2568.9 | 974897.121 | 48632 | 18611 | 3088.072 | 0.977 | 0.025 | 33.187 | 30 | 48786.476 | 222 | 0.468 |  | 603695.2587 | 589810.2677 | 28298.2781 | 11724.93 |  | 3088.072 | 1861.1 |  | 98614.0774 | 97726.5507 | 4208.8305 | 5024.97 | 0.991 | 48639.8408 | 48632 | -0.00016123 | 11243.8997 | 6586.193 | 1642.8543
WECC_CO | WECC_CO_utilitypv_class1_advanced_1 | UtilityPV_Class1_Advanced_ | 4181.2 | 974897.121 | 47780 | 18611 | 2236.081 | 0.977 | 0.025 | 34.494 | 30 | 47934.485 | 223 | 0.468 |  | 603695.2587 | 589810.2677 | 28298.2781 | 11724.93 |  | 2236.081 | 1861.1 |  | 98614.0774 | 97726.5507 | 4208.8305 | 5024.97 | 0.991 | 47787.8498 | 47780 | -0.00016429 | 11243.8997 | 6586.193 | 1189.5951
WECC_CO | WECC_CO_utilitypv_class1_advanced_2 | UtilityPV_Class1_Advanced_ | 44585.4 | 974897.121 | 52196 | 18611 | 6652.3 | 0.977 | 0.025 | 36.349 | 30 | 52350.704 | 224 | 0.468 |  | 603695.2587 | 589810.2677 | 28298.2781 | 11724.93 |  | 6652.3 | 1861.1 |  | 98614.0774 | 97726.5507 | 4208.8305 | 5024.97 | 0.991 | 52204.0688 | 52196 | -0.00015459 | 11243.8997 | 6586.193 | 3539.0236
WECC_CO | WECC_CO_utilitypv_class1_advanced_3 | UtilityPV_Class1_Advanced_ | 20252.6 | 974897.121 | 55380 | 18611 | 9836.243 | 0.977 | 0.025 | 36.509 | 30 | 55534.647 | 225 | 0.468 |  | 603695.2587 | 589810.2677 | 28298.2781 | 11724.93 |  | 9836.243 | 1861.1 |  | 98614.0774 | 97726.5507 | 4208.8305 | 5024.97 | 0.991 | 55388.0118 | 55380 | -0.00014467 | 11243.8997 | 6586.193 | 5232.8813
WECC_CO | WECC_CO_utilitypv_class1_advanced_4 | UtilityPV_Class1_Advanced_ | 108475.3 | 974897.121 | 58534 | 18611 | 12990.508 | 0.977 | 0.025 | 38.628 | 30 | 58688.912 | 226 | 0.468 |  | 603695.2587 | 589810.2677 | 28298.2781 | 11724.93 |  | 12990.508 | 1861.1 |  | 98614.0774 | 97726.5507 | 4208.8305 | 5024.97 | 0.991 | 58542.2768 | 58534 | -0.0001414 | 11243.8997 | 6586.193 | 6910.9503
WECC_CO | WECC_CO_utilitypv_class1_advanced_5 | UtilityPV_Class1_Advanced_ | 33490.8 | 974897.121 | 63336 | 18611 | 17792.155 | 0.977 | 0.025 | 38.854 | 30 | 63490.559 | 227 | 0.468 |  | 603695.2587 | 589810.2677 | 28298.2781 | 11724.93 |  | 17792.155 | 1861.1 |  | 98614.0774 | 97726.5507 | 4208.8305 | 5024.97 | 0.991 | 63343.9238 | 63336 | -0.00012511 | 11243.8997 | 6586.193 | 9465.4265
WECC_ID | WECC_ID_utilitypv_class1_advanced_0 | UtilityPV_Class1_Advanced_ | 5585.6 | 974897.121 | 49097 | 18611 | 3133.536 | 0.986 | 0.025 | 35.874 | 30 | 49252.9079 | 247 | 0.468 |  | 603695.2587 | 595243.525 | 28558.9582 | 11724.93 |  | 3133.536 | 1861.1 |  | 98614.0774 | 101671.1138 | 4378.7126 | 5024.97 | 1.031 | 49250.6008 | 49097 | -0.0031285 | 11697.7402 | 6586.193 | 1667.0412
WECC_ID | WECC_ID_utilitypv_class1_advanced_1 | UtilityPV_Class1_Advanced_ | 8675.4 | 974897.121 | 51404 | 18611 | 5440.064 | 0.986 | 0.025 | 36.023 | 30 | 51559.4359 | 248 | 0.468 |  | 603695.2587 | 595243.525 | 28558.9582 | 11724.93 |  | 5440.064 | 1861.1 |  | 98614.0774 | 101671.1138 | 4378.7126 | 5024.97 | 1.031 | 51557.1288 | 51404 | -0.0029789 | 11697.7402 | 6586.193 | 2894.114
WECC_ID | WECC_ID_utilitypv_class1_advanced_2 | UtilityPV_Class1_Advanced_ | 30169.4 | 974897.121 | 55394 | 18611 | 9430.22 | 0.986 | 0.025 | 38.847 | 30 | 55549.5919 | 249 | 0.468 |  | 603695.2587 | 595243.525 | 28558.9582 | 11724.93 |  | 9430.22 | 1861.1 |  | 98614.0774 | 101671.1138 | 4378.7126 | 5024.97 | 1.031 | 55547.2848 | 55394 | -0.0027672 | 11697.7402 | 6586.193 | 5016.877
WECC_ID | WECC_ID_utilitypv_class1_advanced_3 | UtilityPV_Class1_Advanced_ | 11437.7 | 974897.121 | 58924 | 18611 | 12960.213 | 0.986 | 0.025 | 38.719 | 30 | 59079.5849 | 250 | 0.468 |  | 603695.2587 | 595243.525 | 28558.9582 | 11724.93 |  | 12960.213 | 1861.1 |  | 98614.0774 | 101671.1138 | 4378.7126 | 5024.97 | 1.031 | 59077.2778 | 58924 | -0.0026013 | 11697.7402 | 6586.193 | 6894.8333
WECC_IID | WECC_IID_utilitypv_class1_advanced_0 | UtilityPV_Class1_Advanced_ | 6954 | 974897.121 | 56988 | 18611 | 7625.853 | 1.059 | 0.025 | 35.846 | 30 | 57159.7423 | 261 | 0.468 |  | 603695.2587 | 639313.2789 | 30673.3639 | 11724.93 |  | 7625.853 | 1861.1 |  | 98614.0774 | 102755.8687 | 4425.4302 | 5024.97 | 1.042 | 56848.9677 | 56988 | 0.0024397 | 11822.5464 | 6586.193 | 4056.9538
WECC_IID | WECC_IID_utilitypv_class1_advanced_1 | UtilityPV_Class1_Advanced_ | 20320.2 | 974897.121 | 54167 | 18611 | 4804.176 | 1.059 | 0.025 | 35.27 | 30 | 54338.0653 | 262 | 0.468 |  | 603695.2587 | 639313.2789 | 30673.3639 | 11724.93 |  | 4804.176 | 1861.1 |  | 98614.0774 | 102755.8687 | 4425.4302 | 5024.97 | 1.042 | 54027.2907 | 54167 | 0.0025792 | 11822.5464 | 6586.193 | 2555.8216
WECC_IID | WECC_IID_utilitypv_class1_advanced_2 | UtilityPV_Class1_Advanced_ | 11694.2 | 974897.121 | 67831 | 18611 | 18468.215 | 1.059 | 0.025 | 38.866 | 30 | 68002.1043 | 263 | 0.468 |  | 603695.2587 | 639313.2789 | 30673.3639 | 11724.93 |  | 18468.215 | 1861.1 |  | 98614.0774 | 102755.8687 | 4425.4302 | 5024.97 | 1.042 | 67691.3297 | 67831 | 0.0020591 | 11822.5464 | 6586.193 | 9825.0904
WECC_IID | WECC_IID_utilitypv_class1_advanced_3 | UtilityPV_Class1_Advanced_ | 4762.7 | 974897.121 | 65582 | 18611 | 16219.341 | 1.059 | 0.025 | 38.786 | 30 | 65753.2303 | 264 | 0.468 |  | 603695.2587 | 639313.2789 | 30673.3639 | 11724.93 |  | 16219.341 | 1861.1 |  | 98614.0774 | 102755.8687 | 4425.4302 | 5024.97 | 1.042 | 65442.4557 | 65582 | 0.0021278 | 11822.5464 | 6586.193 | 8628.6894
WECC_MT | WECC_MT_utilitypv_class1_advanced_0 | UtilityPV_Class1_Advanced_ | 2685.9 | 974897.121 | 48983 | 18611 | 2843.442 | 0.989 | 0.025 | 37.651 | 30 | 49103.1365 | 272 | 0.468 |  | 603695.2587 | 597054.6108 | 28645.8516 | 11724.93 |  | 2843.442 | 1861.1 |  | 98614.0774 | 100980.8153 | 4348.9832 | 5024.97 | 1.024 | 49052.9868 | 48983 | -0.0014288 | 11618.3181 | 6586.193 | 1512.7111
WECC_MT | WECC_MT_utilitypv_class1_advanced_1 | UtilityPV_Class1_Advanced_ | 74.5 | 974897.121 | 51278 | 18611 | 5138.822 | 0.989 | 0.025 | 36.917 | 30 | 51398.5165 | 273 | 0.468 |  | 603695.2587 | 597054.6108 | 28645.8516 | 11724.93 |  | 5138.822 | 1861.1 |  | 98614.0774 | 100980.8153 | 4348.9832 | 5024.97 | 1.024 | 51348.3668 | 51278 | -0.0013723 | 11618.3181 | 6586.193 | 2733.8533
WECC_MT | WECC_MT_utilitypv_class1_advanced_2 | UtilityPV_Class1_Advanced_ | 43877.6 | 974897.121 | 52372 | 18611 | 6232.148 | 0.989 | 0.025 | 39.314 | 30 | 52491.8425 | 274 | 0.468 |  | 603695.2587 | 597054.6108 | 28645.8516 | 11724.93 |  | 6232.148 | 1861.1 |  | 98614.0774 | 100980.8153 | 4348.9832 | 5024.97 | 1.024 | 52441.6928 | 52372 | -0.0013307 | 11618.3181 | 6586.193 | 3315.5027
WECC_MT | WECC_MT_utilitypv_class1_advanced_3 | UtilityPV_Class1_Advanced_ | 1442.5 | 974897.121 | 48252 | 18611 | 2112.095 | 0.989 | 0.025 | 38.833 | 30 | 48371.7895 | 275 | 0.468 |  | 603695.2587 | 597054.6108 | 28645.8516 | 11724.93 |  | 2112.095 | 1861.1 |  | 98614.0774 | 100980.8153 | 4348.9832 | 5024.97 | 1.024 | 48321.6398 | 48252 | -0.0014433 | 11618.3181 | 6586.193 | 1123.6345
WECC_NM | WECC_NM_utilitypv_class1_advanced_0 | UtilityPV_Class1_Advanced_ | 24181.3 | 974897.121 | 50021 | 18611 | 5003.164 | 0.965 | 0.025 | 31.936 | 30 | 50140.2775 | 293 | 0.468 |  | 603695.2587 | 582565.9246 | 27950.7046 | 11724.93 |  | 5003.164 | 1861.1 |  | 98614.0774 | 99797.4463 | 4298.0186 | 5024.97 | 1.012 | 50151.9801 | 50021 | -0.0026185 | 11482.1659 | 6586.193 | 2661.6832
WECC_NM | WECC_NM_utilitypv_class1_advanced_1 | UtilityPV_Class1_Advanced_ | 15380.2 | 974897.121 | 48634 | 18611 | 3616.921 | 0.965 | 0.025 | 31.797 | 30 | 48754.0345 | 294 | 0.468 |  | 603695.2587 | 582565.9246 | 27950.7046 | 11724.93 |  | 3616.921 | 1861.1 |  | 98614.0774 | 99797.4463 | 4298.0186 | 5024.97 | 1.012 | 48765.7371 | 48634 | -0.0027087 | 11482.1659 | 6586.193 | 1924.202
WECC_NM | WECC_NM_utilitypv_class1_advanced_2 | UtilityPV_Class1_Advanced_ | 44297.8 | 974897.121 | 55536 | 18611 | 10518.258 | 0.965 | 0.025 | 34.005 | 30 | 55655.3715 | 295 | 0.468 |  | 603695.2587 | 582565.9246 | 27950.7046 | 11724.93 |  | 10518.258 | 1861.1 |  | 98614.0774 | 99797.4463 | 4298.0186 | 5024.97 | 1.012 | 55667.0741 | 55536 | -0.0023602 | 11482.1659 | 6586.193 | 5595.7133
WECC_NM | WECC_NM_utilitypv_class1_advanced_3 | UtilityPV_Class1_Advanced_ | 50137.8 | 974897.121 | 54440 | 18611 | 9422.582 | 0.965 | 0.025 | 34.08 | 30 | 54559.6955 | 296 | 0.468 |  | 603695.2587 | 582565.9246 | 27950.7046 | 11724.93 |  | 9422.582 | 1861.1 |  | 98614.0774 | 99797.4463 | 4298.0186 | 5024.97 | 1.012 | 54571.3981 | 54440 | -0.0024136 | 11482.1659 | 6586.193 | 5012.8136
WECC_NM | WECC_NM_utilitypv_class1_advanced_4 | UtilityPV_Class1_Advanced_ | 81329.8 | 974897.121 | 60385 | 18611 | 15367.22 | 0.965 | 0.025 | 36.432 | 30 | 60504.3335 | 297 | 0.468 |  | 603695.2587 | 582565.9246 | 27950.7046 | 11724.93 |  | 15367.22 | 1861.1 |  | 98614.0774 | 99797.4463 | 4298.0186 | 5024.97 | 1.012 | 60516.0361 | 60385 | -0.00217 | 11482.1659 | 6586.193 | 8175.361
WECC_NM | WECC_NM_utilitypv_class1_advanced_5 | UtilityPV_Class1_Advanced_ | 45151.7 | 974897.121 | 61122 | 18611 | 16104.968 | 0.965 | 0.025 | 36.305 | 30 | 61242.0815 | 298 | 0.468 |  | 603695.2587 | 582565.9246 | 27950.7046 | 11724.93 |  | 16104.968 | 1861.1 |  | 98614.0774 | 99797.4463 | 4298.0186 | 5024.97 | 1.012 | 61253.7841 | 61122 | -0.0021561 | 11482.1659 | 6586.193 | 8567.843
WECC_NM | WECC_NM_utilitypv_class1_advanced_6 | UtilityPV_Class1_Advanced_ | 215600.3 | 974897.121 | 66431 | 18611 | 21413.745 | 0.965 | 0.025 | 38.794 | 30 | 66550.8585 | 299 | 0.468 |  | 603695.2587 | 582565.9246 | 27950.7046 | 11724.93 |  | 21413.745 | 1861.1 |  | 98614.0774 | 99797.4463 | 4298.0186 | 5024.97 | 1.012 | 66562.5611 | 66431 | -0.0019804 | 11482.1659 | 6586.193 | 11392.1123
WECC_NM | WECC_NM_utilitypv_class1_advanced_7 | UtilityPV_Class1_Advanced_ | 112315.6 | 974897.121 | 66347 | 18611 | 21329.785 | 0.965 | 0.025 | 39.261 | 30 | 66466.8985 | 300 | 0.468 |  | 603695.2587 | 582565.9246 | 27950.7046 | 11724.93 |  | 21329.785 | 1861.1 |  | 98614.0774 | 99797.4463 | 4298.0186 | 5024.97 | 1.012 | 66478.6011 | 66347 | -0.0019835 | 11482.1659 | 6586.193 | 11347.4456
WECC_NNV | WECC_NNV_utilitypv_class1_advanced_0 | UtilityPV_Class1_Advanced_ | 7736.4 | 974897.121 | 50757 | 18611 | 4793.505 | 0.986 | 0.025 | 32.548 | 30 | 50912.8769 | 321 | 0.468 |  | 603695.2587 | 595243.525 | 28558.9582 | 11724.93 |  | 4793.505 | 1861.1 |  | 98614.0774 | 101671.1138 | 4378.7126 | 5024.97 | 1.031 | 50910.5698 | 50757 | -0.0030256 | 11697.7402 | 6586.193 | 2550.1447
WECC_NNV | WECC_NNV_utilitypv_class1_advanced_1 | UtilityPV_Class1_Advanced_ | 354.8 | 974897.121 | 49783 | 18611 | 3819.459 | 0.986 | 0.025 | 30.302 | 30 | 49938.8309 | 322 | 0.468 |  | 603695.2587 | 595243.525 | 28558.9582 | 11724.93 |  | 3819.459 | 1861.1 |  | 98614.0774 | 101671.1138 | 4378.7126 | 5024.97 | 1.031 | 49936.5238 | 49783 | -0.0030839 | 11697.7402 | 6586.193 | 2031.9522
WECC_NNV | WECC_NNV_utilitypv_class1_advanced_2 | UtilityPV_Class1_Advanced_ | 24941.4 | 974897.121 | 56812 | 18611 | 10848.963 | 0.986 | 0.025 | 35.819 | 30 | 56968.3349 | 323 | 0.468 |  | 603695.2587 | 595243.525 | 28558.9582 | 11724.93 |  | 10848.963 | 1861.1 |  | 98614.0774 | 101671.1138 | 4378.7126 | 5024.97 | 1.031 | 56966.0278 | 56812 | -0.0027112 | 11697.7402 | 6586.193 | 5771.6483
WECC_NNV | WECC_NNV_utilitypv_class1_advanced_3 | UtilityPV_Class1_Advanced_ | 22001.4 | 974897.121 | 56346 | 18611 | 10382.448 | 0.986 | 0.025 | 35.118 | 30 | 56501.8199 | 324 | 0.468 |  | 603695.2587 | 595243.525 | 28558.9582 | 11724.93 |  | 10382.448 | 1861.1 |  | 98614.0774 | 101671.1138 | 4378.7126 | 5024.97 | 1.031 | 56499.5128 | 56346 | -0.0027245 | 11697.7402 | 6586.193 | 5523.4623
WECC_NNV | WECC_NNV_utilitypv_class1_advanced_4 | UtilityPV_Class1_Advanced_ | 71318.3 | 974897.121 | 63428 | 18611 | 17464.09 | 0.986 | 0.025 | 38.336 | 30 | 63583.4619 | 325 | 0.468 |  | 603695.2587 | 595243.525 | 28558.9582 | 11724.93 |  | 17464.09 | 1861.1 |  | 98614.0774 | 101671.1138 | 4378.7126 | 5024.97 | 1.031 | 63581.1548 | 63428 | -0.0024146 | 11697.7402 | 6586.193 | 9290.8959
WECC_NNV | WECC_NNV_utilitypv_class1_advanced_5 | UtilityPV_Class1_Advanced_ | 25515.4 | 974897.121 | 61548 | 18611 | 15584.208 | 0.986 | 0.025 | 38.437 | 30 | 61703.5799 | 326 | 0.468 |  | 603695.2587 | 595243.525 | 28558.9582 | 11724.93 |  | 15584.208 | 1861.1 |  | 98614.0774 | 101671.1138 | 4378.7126 | 5024.97 | 1.031 | 61701.2728 | 61548 | -0.0024903 | 11697.7402 | 6586.193 | 8290.7987
WECC_PNW | WECC_PNW_utilitypv_class1_advanced_0 | UtilityPV_Class1_Advanced_ | 2050.4 | 974897.121 | 48955 | 18611 | 2815.987 | 0.989 | 0.025 | 35.418 | 30 | 49075.6815 | 335 | 0.468 |  | 603695.2587 | 597054.6108 | 28645.8516 | 11724.93 |  | 2815.987 | 1861.1 |  | 98614.0774 | 100980.8153 | 4348.9832 | 5024.97 | 1.024 | 49025.5318 | 48955 | -0.0014407 | 11618.3181 | 6586.193 | 1498.1051
WECC_PNW | WECC_PNW_utilitypv_class1_advanced_1 | UtilityPV_Class1_Advanced_ | 478.7 | 974897.121 | 48147 | 18611 | 2007.696 | 0.989 | 0.025 | 33.543 | 30 | 48267.3905 | 336 | 0.468 |  | 603695.2587 | 597054.6108 | 28645.8516 | 11724.93 |  | 2007.696 | 1861.1 |  | 98614.0774 | 100980.8153 | 4348.9832 | 5024.97 | 1.024 | 48217.2408 | 48147 | -0.0014589 | 11618.3181 | 6586.193 | 1068.0943
WECC_PNW | WECC_PNW_utilitypv_class1_advanced_2 | UtilityPV_Class1_Advanced_ | 7285.7 | 974897.121 | 51494 | 18611 | 5354.689 | 0.989 | 0.025 | 37.734 | 30 | 51614.3835 | 337 | 0.468 |  | 603695.2587 | 597054.6108 | 28645.8516 | 11724.93 |  | 5354.689 | 1861.1 |  | 98614.0774 | 100980.8153 | 4348.9832 | 5024.97 | 1.024 | 51564.2338 | 51494 | -0.0013639 | 11618.3181 | 6586.193 | 2848.6945
WECC_PNW | WECC_PNW_utilitypv_class1_advanced_3 | UtilityPV_Class1_Advanced_ | 10319.3 | 974897.121 | 48731 | 18611 | 2591.564 | 0.989 | 0.025 | 38.793 | 30 | 48851.2585 | 338 | 0.468 |  | 603695.2587 | 597054.6108 | 28645.8516 | 11724.93 |  | 2591.564 | 1861.1 |  | 98614.0774 | 100980.8153 | 4348.9832 | 5024.97 | 1.024 | 48801.1088 | 48731 | -0.0014387 | 11618.3181 | 6586.193 | 1378.712
WECC_SNV | WECC_SNV_utilitypv_class1_advanced_0 | UtilityPV_Class1_Advanced_ | 8040 | 974897.121 | 50727 | 18611 | 5709.411 | 0.965 | 0.025 | 32.742 | 30 | 50846.5245 | 351 | 0.468 |  | 603695.2587 | 582565.9246 | 27950.7046 | 11724.93 |  | 5709.411 | 1861.1 |  | 98614.0774 | 99797.4463 | 4298.0186 | 5024.97 | 1.012 | 50858.2271 | 50727 | -0.0025869 | 11482.1659 | 6586.193 | 3037.4067
WECC_SNV | WECC_SNV_utilitypv_class1_advanced_1 | UtilityPV_Class1_Advanced_ | 3719.5 | 974897.121 | 49744 | 18611 | 4726.624 | 0.965 | 0.025 | 31.847 | 30 | 49863.7375 | 352 | 0.468 |  | 603695.2587 | 582565.9246 | 27950.7046 | 11724.93 |  | 4726.624 | 1861.1 |  | 98614.0774 | 99797.4463 | 4298.0186 | 5024.97 | 1.012 | 49875.4401 | 49744 | -0.0026423 | 11482.1659 | 6586.193 | 2514.564
WECC_SNV | WECC_SNV_utilitypv_class1_advanced_2 | UtilityPV_Class1_Advanced_ | 25219.7 | 974897.121 | 59956 | 18611 | 14938.814 | 0.965 | 0.025 | 35.795 | 30 | 60075.9275 | 353 | 0.468 |  | 603695.2587 | 582565.9246 | 27950.7046 | 11724.93 |  | 14938.814 | 1861.1 |  | 98614.0774 | 99797.4463 | 4298.0186 | 5024.97 | 1.012 | 60087.6301 | 59956 | -0.0021954 | 11482.1659 | 6586.193 | 7947.449
WECC_SNV | WECC_SNV_utilitypv_class1_advanced_3 | UtilityPV_Class1_Advanced_ | 25306.9 | 974897.121 | 57089 | 18611 | 12071.126 | 0.965 | 0.025 | 35.376 | 30 | 57208.2395 | 354 | 0.468 |  | 603695.2587 | 582565.9246 | 27950.7046 | 11724.93 |  | 12071.126 | 1861.1 |  | 98614.0774 | 99797.4463 | 4298.0186 | 5024.97 | 1.012 | 57219.9421 | 57089 | -0.0022936 | 11482.1659 | 6586.193 | 6421.839
WECC_SNV | WECC_SNV_utilitypv_class1_advanced_4 | UtilityPV_Class1_Advanced_ | 48401.4 | 974897.121 | 65067 | 18611 | 20049.886 | 0.965 | 0.025 | 38.72 | 30 | 65186.9995 | 355 | 0.468 |  | 603695.2587 | 582565.9246 | 27950.7046 | 11724.93 |  | 20049.886 | 1861.1 |  | 98614.0774 | 99797.4463 | 4298.0186 | 5024.97 | 1.012 | 65198.7021 | 65067 | -0.0020241 | 11482.1659 | 6586.193 | 10666.5394
WECC_SNV | WECC_SNV_utilitypv_class1_advanced_5 | UtilityPV_Class1_Advanced_ | 39619.8 | 974897.121 | 65401 | 18611 | 20383.115 | 0.965 | 0.025 | 38.221 | 30 | 65520.2285 | 356 | 0.468 |  | 603695.2587 | 582565.9246 | 27950.7046 | 11724.93 |  | 20383.115 | 1861.1 |  | 98614.0774 | 99797.4463 | 4298.0186 | 5024.97 | 1.012 | 65531.9311 | 65401 | -0.002002 | 11482.1659 | 6586.193 | 10843.8172
WECC_UT | WECC_UT_utilitypv_class1_advanced_0 | UtilityPV_Class1_Advanced_ | 1612.4 | 974897.121 | 50604 | 18611 | 4640.771 | 0.986 | 0.025 | 35.657 | 30 | 50760.1429 | 365 | 0.468 |  | 603695.2587 | 595243.525 | 28558.9582 | 11724.93 |  | 4640.771 | 1861.1 |  | 98614.0774 | 101671.1138 | 4378.7126 | 5024.97 | 1.031 | 50757.8358 | 50604 | -0.00304 | 11697.7402 | 6586.193 | 2468.8902
WECC_UT | WECC_UT_utilitypv_class1_advanced_1 | UtilityPV_Class1_Advanced_ | 1022 | 974897.121 | 51425 | 18611 | 5461.524 | 0.986 | 0.025 | 33.615 | 30 | 51580.8959 | 366 | 0.468 |  | 603695.2587 | 595243.525 | 28558.9582 | 11724.93 |  | 5461.524 | 1861.1 |  | 98614.0774 | 101671.1138 | 4378.7126 | 5024.97 | 1.031 | 51578.5888 | 51425 | -0.0029867 | 11697.7402 | 6586.193 | 2905.5308
WECC_UT | WECC_UT_utilitypv_class1_advanced_2 | UtilityPV_Class1_Advanced_ | 13742.2 | 974897.121 | 54920 | 18611 | 8956.109 | 0.986 | 0.025 | 37.871 | 30 | 55075.4809 | 367 | 0.468 |  | 603695.2587 | 595243.525 | 28558.9582 | 11724.93 |  | 8956.109 | 1861.1 |  | 98614.0774 | 101671.1138 | 4378.7126 | 5024.97 | 1.031 | 55073.1738 | 54920 | -0.002789 | 11697.7402 | 6586.193 | 4764.65
WECC_UT | WECC_UT_utilitypv_class1_advanced_3 | UtilityPV_Class1_Advanced_ | 15728.7 | 974897.121 | 59834 | 18611 | 13870.761 | 0.986 | 0.025 | 38.732 | 30 | 59990.1329 | 368 | 0.468 |  | 603695.2587 | 595243.525 | 28558.9582 | 11724.93 |  | 13870.761 | 1861.1 |  | 98614.0774 | 101671.1138 | 4378.7126 | 5024.97 | 1.031 | 59987.8258 | 59834 | -0.0025709 | 11697.7402 | 6586.193 | 7379.2449
WECC_WY | WECC_WY_utilitypv_class1_advanced_0 | UtilityPV_Class1_Advanced_ | 12277.7 | 974897.121 | 49599 | 18611 | 3635.726 | 0.986 | 0.025 | 35.264 | 30 | 49755.0979 | 378 | 0.468 |  | 603695.2587 | 595243.525 | 28558.9582 | 11724.93 |  | 3635.726 | 1861.1 |  | 98614.0774 | 101671.1138 | 4378.7126 | 5024.97 | 1.031 | 49752.7908 | 49599 | -0.0031007 | 11697.7402 | 6586.193 | 1934.2062
WECC_WY | WECC_WY_utilitypv_class1_advanced_1 | UtilityPV_Class1_Advanced_ | 1062.4 | 974897.121 | 49081 | 18611 | 3117.486 | 0.986 | 0.025 | 34.381 | 30 | 49236.8579 | 379 | 0.468 |  | 603695.2587 | 595243.525 | 28558.9582 | 11724.93 |  | 3117.486 | 1861.1 |  | 98614.0774 | 101671.1138 | 4378.7126 | 5024.97 | 1.031 | 49234.5508 | 49081 | -0.0031285 | 11697.7402 | 6586.193 | 1658.5026
WECC_WY | WECC_WY_utilitypv_class1_advanced_2 | UtilityPV_Class1_Advanced_ | 44203.8 | 974897.121 | 54262 | 18611 | 8298.762 | 0.986 | 0.025 | 37.036 | 30 | 54418.1339 | 380 | 0.468 |  | 603695.2587 | 595243.525 | 28558.9582 | 11724.93 |  | 8298.762 | 1861.1 |  | 98614.0774 | 101671.1138 | 4378.7126 | 5024.97 | 1.031 | 54415.8268 | 54262 | -0.0028349 | 11697.7402 | 6586.193 | 4414.9414
WECC_WY | WECC_WY_utilitypv_class1_advanced_3 | UtilityPV_Class1_Advanced_ | 19806.4 | 974897.121 | 52803 | 18611 | 6839.795 | 0.986 | 0.025 | 36.548 | 30 | 52959.1669 | 381 | 0.468 |  | 603695.2587 | 595243.525 | 28558.9582 | 11724.93 |  | 6839.795 | 1861.1 |  | 98614.0774 | 101671.1138 | 4378.7126 | 5024.97 | 1.031 | 52956.8598 | 52803 | -0.0029138 | 11697.7402 | 6586.193 | 3638.7709
WECC_WY | WECC_WY_utilitypv_class1_advanced_4 | UtilityPV_Class1_Advanced_ | 86994.9 | 974897.121 | 59148 | 18611 | 13184.975 | 0.986 | 0.025 | 39.1 | 30 | 59304.3469 | 382 | 0.468 |  | 603695.2587 | 595243.525 | 28558.9582 | 11724.93 |  | 13184.975 | 1861.1 |  | 98614.0774 | 101671.1138 | 4378.7126 | 5024.97 | 1.031 | 59302.0398 | 59148 | -0.0026043 | 11697.7402 | 6586.193 | 7014.4067
WECC_WY | WECC_WY_utilitypv_class1_advanced_5 | UtilityPV_Class1_Advanced_ | 28224.1 | 974897.121 | 58515 | 18611 | 12551.733 | 0.986 | 0.025 | 39.146 | 30 | 58671.1049 | 383 | 0.468 |  | 603695.2587 | 595243.525 | 28558.9582 | 11724.93 |  | 12551.733 | 1861.1 |  | 98614.0774 | 101671.1138 | 4378.7126 | 5024.97 | 1.031 | 58668.7978 | 58515 | -0.0026283 | 11697.7402 | 6586.193 | 6677.522
WEC_SDGE | WEC_SDGE_utilitypv_class1_advanced_1 | UtilityPV_Class1_Advanced_ | 1764.2 | 974897.121 | 56588 | 18611 | 7225.84 | 1.059 | 0.025 | 36.314 | 30 | 56759.7293 | 403 | 0.468 |  | 603695.2587 | 639313.2789 | 30673.3639 | 11724.93 |  | 7225.84 | 1861.1 |  | 98614.0774 | 102755.8687 | 4425.4302 | 5024.97 | 1.042 | 56448.9547 | 56588 | 0.0024572 | 11822.5464 | 6586.193 | 3844.1469
WEC_SDGE | WEC_SDGE_utilitypv_class1_advanced_2 | UtilityPV_Class1_Advanced_ | 5604.7 | 974897.121 | 63852 | 18611 | 14489.906 | 1.059 | 0.025 | 38.828 | 30 | 64023.7953 | 404 | 0.468 |  | 603695.2587 | 639313.2789 | 30673.3639 | 11724.93 |  | 14489.906 | 1861.1 |  | 98614.0774 | 102755.8687 | 4425.4302 | 5024.97 | 1.042 | 63713.0207 | 63852 | 0.0021766 | 11822.5464 | 6586.193 | 7708.63
Storage AC Costs
region | Resource_type | technology | capex_mw | Inv_Cost_per_MWyr | Fixed_OM_Cost_per_MWyr | capex_mwh | Inv_Cost_per_MWhyr | Fixed_OM_Cost_per_MWhyr | Var_OM_Cost_per_MWh | Var_OM_Cost_per_MWh_In | regional_cost_multiplier | wacc_real |  | cap_recovery_years | R_ID
CA_N | CA_N_battery_advanced_0 | Battery_*_Advanced | 178049.733 | 14982 | 4451 | 231160.909 | 19451 | 5779 | 0.3 | 0.15 | 1.041 | 0.025 |  | 15 | 181
CA_S | CA_S_battery_advanced_0 | Battery_*_Advanced | 178049.733 | 14992 | 4451 | 231160.909 | 19465 | 5779 | 0.3 | 0.15 | 1.042 | 0.025 |  | 15 | 202
WECC_AZ | WECC_AZ_battery_advanced_0 | Battery_*_Advanced | 178049.733 | 14566 | 4451 | 231160.909 | 18911 | 5779 | 0.3 | 0.15 | 1.012 | 0.025 |  | 15 | 220
WECC_CO | WECC_CO_battery_advanced_0 | Battery_*_Advanced | 178049.733 | 14264 | 4451 | 231160.909 | 18519 | 5779 | 0.3 | 0.15 | 0.991 | 0.025 |  | 15 | 245
WECC_ID | WECC_ID_battery_advanced_0 | Battery_*_Advanced | 178049.733 | 14836 | 4451 | 231160.909 | 19262 | 5779 | 0.3 | 0.15 | 1.031 | 0.025 |  | 15 | 277
WECC_IID | WECC_IID_battery_advanced_0 | Battery_*_Advanced | 178049.733 | 14992 | 4451 | 231160.909 | 19465 | 5779 | 0.3 | 0.15 | 1.042 | 0.025 |  | 15 | 293
WECC_MT | WECC_MT_battery_advanced_0 | Battery_*_Advanced | 178049.733 | 14732 | 4451 | 231160.909 | 19127 | 5779 | 0.3 | 0.15 | 1.024 | 0.025 |  | 15 | 306
WECC_NM | WECC_NM_battery_advanced_0 | Battery_*_Advanced | 178049.733 | 14566 | 4451 | 231160.909 | 18911 | 5779 | 0.3 | 0.15 | 1.012 | 0.025 |  | 15 | 337
WECC_NNV | WECC_NNV_battery_advanced_0 | Battery_*_Advanced | 178049.733 | 14836 | 4451 | 231160.909 | 19262 | 5779 | 0.3 | 0.15 | 1.031 | 0.025 |  | 15 | 375
WECC_PNW | WECC_PNW_battery_advanced_0 | Battery_*_Advanced | 178049.733 | 14732 | 4451 | 231160.909 | 19127 | 5779 | 0.3 | 0.15 | 1.024 | 0.025 |  | 15 | 393
WECC_SNV | WECC_SNV_battery_advanced_0 | Battery_*_Advanced | 178049.733 | 14566 | 4451 | 231160.909 | 18911 | 5779 | 0.3 | 0.15 | 1.012 | 0.025 |  | 15 | 409
WECC_UT | WECC_UT_battery_advanced_0 | Battery_*_Advanced | 178049.733 | 14836 | 4451 | 231160.909 | 19262 | 5779 | 0.3 | 0.15 | 1.031 | 0.025 |  | 15 | 427
WECC_WY | WECC_WY_battery_advanced_0 | Battery_*_Advanced | 178049.733 | 14836 | 4451 | 231160.909 | 19262 | 5779 | 0.3 | 0.15 | 1.031 | 0.025 |  | 15 | 442
WEC_SDGE | WEC_SDGE_battery_advanced_0 | Battery_*_Advanced | 178049.733 | 14992 | 4451 | 231160.909 | 19465 | 5779 | 0.3 | 0.15 | 1.042 | 0.025 |  | 15 | 476
Standalone Storage DC Costs IRA
region | Resource_type | technology | wacc_real | cap_recovery_years | Capex MWh | Regional Multipliers | Regional Capex MWh | Investment Costs ($/MWh-dc/yr) 2.5%, 15 years, Bat Multipliers | Fixed Costs MWh |  | Grid Connection Investment (4.4%, 60 years, region specific) | Fixed O&M Grid Connection |  | Inverter Capex | Regional Inverter Capex | Investment Inverter Costs (2.5%, 30 years, Bat Multipliers) | Fixed O&M Inverter | R_ID
CA_N | CA_N_battery_advanced_0 | Battery_*_Advanced | 0.025 | 15 | 263447.7212 | 1.041 | 274249.0778 | 11811.2003 | 6586.193 |  | 4250.5245 | 1861.1 |  | 98614.0774 | 102657.2546 | 4421.1831 | 5024.97 | 181 |  | 2758.5904
CA_S | CA_S_battery_advanced_0 | Battery_*_Advanced | 0.025 | 15 | 263447.7212 | 1.042 | 274512.5255 | 11822.5464 | 6586.193 |  | 4250.5245 | 1861.1 |  | 98614.0774 | 102755.8687 | 4425.4302 | 5024.97 | 202 |  | 2758.5904
WECC_AZ | WECC_AZ_battery_advanced_0 | Battery_*_Advanced | 0.025 | 15 | 263447.7212 | 1.012 | 266609.0938 | 11482.1659 | 6586.193 |  | 1889.122 | 1861.1 |  | 98614.0774 | 99797.4463 | 4298.0186 | 5024.97 | 220 |  | 1226.0402
WECC_CO | WECC_CO_battery_advanced_0 | Battery_*_Advanced | 0.025 | 15 | 263447.7212 | 0.991 | 261076.6917 | 11243.8997 | 6586.193 |  | 1889.122 | 1861.1 |  | 98614.0774 | 97726.5507 | 4208.8305 | 5024.97 | 245 |  | 1226.0402
WECC_ID | WECC_ID_battery_advanced_0 | Battery_*_Advanced | 0.025 | 15 | 263447.7212 | 1.031 | 271614.6006 | 11697.7402 | 6586.193 |  | 1889.122 | 1861.1 |  | 98614.0774 | 101671.1138 | 4378.7126 | 5024.97 | 277 |  | 1226.0402
WECC_IID | WECC_IID_battery_advanced_0 | Battery_*_Advanced | 0.025 | 15 | 263447.7212 | 1.042 | 274512.5255 | 11822.5464 | 6586.193 |  | 4250.5245 | 1861.1 |  | 98614.0774 | 102755.8687 | 4425.4302 | 5024.97 | 293 |  | 2758.5904
WECC_MT | WECC_MT_battery_advanced_0 | Battery_*_Advanced | 0.025 | 15 | 263447.7212 | 1.024 | 269770.4665 | 11618.3181 | 6586.193 |  | 1889.122 | 1861.1 |  | 98614.0774 | 100980.8153 | 4348.9832 | 5024.97 | 306 |  | 1226.0402
WECC_NM | WECC_NM_battery_advanced_0 | Battery_*_Advanced | 0.025 | 15 | 263447.7212 | 1.012 | 266609.0938 | 11482.1659 | 6586.193 |  | 1889.122 | 1861.1 |  | 98614.0774 | 99797.4463 | 4298.0186 | 5024.97 | 337 |  | 1226.0402
WECC_NNV | WECC_NNV_battery_advanced_0 | Battery_*_Advanced | 0.025 | 15 | 263447.7212 | 1.031 | 271614.6006 | 11697.7402 | 6586.193 |  | 1889.122 | 1861.1 |  | 98614.0774 | 101671.1138 | 4378.7126 | 5024.97 | 375 |  | 1226.0402
WECC_PNW | WECC_PNW_battery_advanced_0 | Battery_*_Advanced | 0.025 | 15 | 263447.7212 | 1.024 | 269770.4665 | 11618.3181 | 6586.193 |  | 1889.122 | 1861.1 |  | 98614.0774 | 100980.8153 | 4348.9832 | 5024.97 | 393 |  | 1226.0402
WECC_SNV | WECC_SNV_battery_advanced_0 | Battery_*_Advanced | 0.025 | 15 | 263447.7212 | 1.012 | 266609.0938 | 11482.1659 | 6586.193 |  | 1889.122 | 1861.1 |  | 98614.0774 | 99797.4463 | 4298.0186 | 5024.97 | 409 |  | 1226.0402
WECC_UT | WECC_UT_battery_advanced_0 | Battery_*_Advanced | 0.025 | 15 | 263447.7212 | 1.031 | 271614.6006 | 11697.7402 | 6586.193 |  | 1889.122 | 1861.1 |  | 98614.0774 | 101671.1138 | 4378.7126 | 5024.97 | 427 |  | 1226.0402
WECC_WY | WECC_WY_battery_advanced_0 | Battery_*_Advanced | 0.025 | 15 | 263447.7212 | 1.031 | 271614.6006 | 11697.7402 | 6586.193 |  | 1889.122 | 1861.1 |  | 98614.0774 | 101671.1138 | 4378.7126 | 5024.97 | 442 |  | 1226.0402
WEC_SDGE | WEC_SDGE_battery_advanced_0 | Battery_*_Advanced | 0.025 | 15 | 263447.7212 | 1.042 | 274512.5255 | 11822.5464 | 6586.193 |  | 4250.5245 | 1861.1 |  | 98614.0774 | 102755.8687 | 4425.4302 | 5024.97 | 476 |  | 2758.5904
Co-Located Storage DC Costs
region | Resource_type | technology | wacc_real | cap_recovery_years | Capex MWh | Regional Multipliers | Regional Capex MWh | Investment Costs ($/MWh-dc/yr) (2.5%, 15 years, Bat Multipliers) | Fixed Costs MWh | R_ID
CA_N | CA_N_battery_advanced_0 | Battery_*_Advanced | 0.025 | 15 | 263447.7212 | 1.041 | 274249.0778 | 11811.2003 | 6586.193 | 181
CA_S | CA_S_battery_advanced_0 | Battery_*_Advanced | 0.025 | 15 | 263447.7212 | 1.042 | 274512.5255 | 11822.5464 | 6586.193 | 202
WECC_AZ | WECC_AZ_battery_advanced_0 | Battery_*_Advanced | 0.025 | 15 | 263447.7212 | 1.012 | 266609.0938 | 11482.1659 | 6586.193 | 220
WECC_CO | WECC_CO_battery_advanced_0 | Battery_*_Advanced | 0.025 | 15 | 263447.7212 | 0.991 | 261076.6917 | 11243.8997 | 6586.193 | 245
WECC_ID | WECC_ID_battery_advanced_0 | Battery_*_Advanced | 0.025 | 15 | 263447.7212 | 1.031 | 271614.6006 | 11697.7402 | 6586.193 | 277
WECC_IID | WECC_IID_battery_advanced_0 | Battery_*_Advanced | 0.025 | 15 | 263447.7212 | 1.042 | 274512.5255 | 11822.5464 | 6586.193 | 293
WECC_MT | WECC_MT_battery_advanced_0 | Battery_*_Advanced | 0.025 | 15 | 263447.7212 | 1.024 | 269770.4665 | 11618.3181 | 6586.193 | 306
WECC_NM | WECC_NM_battery_advanced_0 | Battery_*_Advanced | 0.025 | 15 | 263447.7212 | 1.012 | 266609.0938 | 11482.1659 | 6586.193 | 337
WECC_NNV | WECC_NNV_battery_advanced_0 | Battery_*_Advanced | 0.025 | 15 | 263447.7212 | 1.031 | 271614.6006 | 11697.7402 | 6586.193 | 375
WECC_PNW | WECC_PNW_battery_advanced_0 | Battery_*_Advanced | 0.025 | 15 | 263447.7212 | 1.024 | 269770.4665 | 11618.3181 | 6586.193 | 393
WECC_SNV | WECC_SNV_battery_advanced_0 | Battery_*_Advanced | 0.025 | 15 | 263447.7212 | 1.012 | 266609.0938 | 11482.1659 | 6586.193 | 409
WECC_UT | WECC_UT_battery_advanced_0 | Battery_*_Advanced | 0.025 | 15 | 263447.7212 | 1.031 | 271614.6006 | 11697.7402 | 6586.193 | 427
WECC_WY | WECC_WY_battery_advanced_0 | Battery_*_Advanced | 0.025 | 15 | 263447.7212 | 1.031 | 271614.6006 | 11697.7402 | 6586.193 | 442
WEC_SDGE | WEC_SDGE_battery_advanced_0 | Battery_*_Advanced | 0.025 | 15 | 263447.7212 | 1.042 | 274512.5255 | 11822.5464 | 6586.193 | 476
Standalone Storage DC Costs IRA-
region | Resource_type | technology | wacc_real | cap_recovery_years | Capex MWh | Regional Multipliers | Regional Capex MWh | Investment Costs ($/MWh-dc/yr) 2.5%, 15 years, Bat Multipliers | Fixed Costs MWh |  | Grid Connection Investment (4.4%, 60 years, region specific) | Fixed O&M Grid Connection |  | Inverter Capex | Regional Inverter Capex | Investment Inverter Costs (2.5%, 30 years, Bat Multipliers) | Fixed O&M Inverter | R_ID
CA_N | CA_N_battery_advanced_0 | Battery_*_Advanced | 0.025 | 15 | 263447.7212 | 1.041 | 274249.0778 | 22201.5044 | 6586.193 |  | 4250.5245 | 1861.1 |  | 98614.0774 | 102657.2546 | 8310.4946 | 5024.97 | 181
CA_S | CA_S_battery_advanced_0 | Battery_*_Advanced | 0.025 | 15 | 263447.7212 | 1.042 | 274512.5255 | 22222.8315 | 6586.193 |  | 4250.5245 | 1861.1 |  | 98614.0774 | 102755.8687 | 8318.4778 | 5024.97 | 202
WECC_AZ | WECC_AZ_battery_advanced_0 | Battery_*_Advanced | 0.025 | 15 | 263447.7212 | 1.012 | 266609.0938 | 21583.0187 | 6586.193 |  | 1889.122 | 1861.1 |  | 98614.0774 | 99797.4463 | 8078.9823 | 5024.97 | 220
WECC_CO | WECC_CO_battery_advanced_0 | Battery_*_Advanced | 0.025 | 15 | 263447.7212 | 0.991 | 261076.6917 | 21135.1497 | 6586.193 |  | 1889.122 | 1861.1 |  | 98614.0774 | 97726.5507 | 7911.3354 | 5024.97 | 245
WECC_ID | WECC_ID_battery_advanced_0 | Battery_*_Advanced | 0.025 | 15 | 263447.7212 | 1.031 | 271614.6006 | 21988.2335 | 6586.193 |  | 1889.122 | 1861.1 |  | 98614.0774 | 101671.1138 | 8230.6628 | 5024.97 | 277
WECC_IID | WECC_IID_battery_advanced_0 | Battery_*_Advanced | 0.025 | 15 | 263447.7212 | 1.042 | 274512.5255 | 22222.8315 | 6586.193 |  | 4250.5245 | 1861.1 |  | 98614.0774 | 102755.8687 | 8318.4778 | 5024.97 | 293
WECC_MT | WECC_MT_battery_advanced_0 | Battery_*_Advanced | 0.025 | 15 | 263447.7212 | 1.024 | 269770.4665 | 21838.9438 | 6586.193 |  | 1889.122 | 1861.1 |  | 98614.0774 | 100980.8153 | 8174.7805 | 5024.97 | 306
WECC_NM | WECC_NM_battery_advanced_0 | Battery_*_Advanced | 0.025 | 15 | 263447.7212 | 1.012 | 266609.0938 | 21583.0187 | 6586.193 |  | 1889.122 | 1861.1 |  | 98614.0774 | 99797.4463 | 8078.9823 | 5024.97 | 337
WECC_NNV | WECC_NNV_battery_advanced_0 | Battery_*_Advanced | 0.025 | 15 | 263447.7212 | 1.031 | 271614.6006 | 21988.2335 | 6586.193 |  | 1889.122 | 1861.1 |  | 98614.0774 | 101671.1138 | 8230.6628 | 5024.97 | 375
WECC_PNW | WECC_PNW_battery_advanced_0 | Battery_*_Advanced | 0.025 | 15 | 263447.7212 | 1.024 | 269770.4665 | 21838.9438 | 6586.193 |  | 1889.122 | 1861.1 |  | 98614.0774 | 100980.8153 | 8174.7805 | 5024.97 | 393
WECC_SNV | WECC_SNV_battery_advanced_0 | Battery_*_Advanced | 0.025 | 15 | 263447.7212 | 1.012 | 266609.0938 | 21583.0187 | 6586.193 |  | 1889.122 | 1861.1 |  | 98614.0774 | 99797.4463 | 8078.9823 | 5024.97 | 409
WECC_UT | WECC_UT_battery_advanced_0 | Battery_*_Advanced | 0.025 | 15 | 263447.7212 | 1.031 | 271614.6006 | 21988.2335 | 6586.193 |  | 1889.122 | 1861.1 |  | 98614.0774 | 101671.1138 | 8230.6628 | 5024.97 | 427
WECC_WY | WECC_WY_battery_advanced_0 | Battery_*_Advanced | 0.025 | 15 | 263447.7212 | 1.031 | 271614.6006 | 21988.2335 | 6586.193 |  | 1889.122 | 1861.1 |  | 98614.0774 | 101671.1138 | 8230.6628 | 5024.97 | 442
WEC_SDGE | WEC_SDGE_battery_advanced_0 | Battery_*_Advanced | 0.025 | 15 | 263447.7212 | 1.042 | 274512.5255 | 22222.8315 | 6586.193 |  | 4250.5245 | 1861.1 |  | 98614.0774 | 102755.8687 | 8318.4778 | 5024.97 | 476
Note on AD28: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Check split