## ira, low, solar, 2
https://www.nrel.gov/docs/fy19osti/71714.pdf | AC COST BREAKDOWN ($ millions) | [8 empty] | DC COST BREAKDOWN
| standalone pv cost breakdown (77 MW) | standalone storage cost breakdown (46 MW/240 MWh) | co-located dc-coupled (pv + storage) | added up costs | different sites dc-coupled (pv + storage) | cost savings |  | AC/DC? |  | pv dc (100 MW DC) | storage dc (60 MW/240 MWh) | inverter ac costs (77 MW AC) |  | sum!
PV module | 33412550.8583 | 0 | 33412550.8583 | 33412550.8583 | 33412550.8583 |  |  | DC | PV module | 33412550.8583 | 0 | 0 |  | 33412550.8583 |  |  | 2018 $ --> 2022 $ | 1.13 |  |  |  | 2022 $
li-ion battery | 0 | 53166050.9258 | 53166050.9258 | 53166050.9258 | 53166050.9258 |  |  | DC | li-ion battery | 0 | 53166050.9258 | 0 |  | 53166050.9258
solar inverter | 3838758.1409 | 0 | 0 | 3838758.1409 | 3838758.1409 |  |  |  | solar inverter | 0 | 0 | 0 |  | 0 |  | Step 1: 2018 Co-Located Capital Cost Breakdown (2022$) |  |  |  |  | Step 2: 2045 Find Proportion of Capital Costs (LOW)
bidirectional inverter | 0 | 3537799.5026 | 4535640.388 | 3537799.5026 | 3537799.5026 |  |  | inverter | bidirectional inverter | 0 | 0 | 4535640.388 |  | 4535640.388 |  |  |  | Assumptions
structural BOS | 12478572.6887 | 782283.3983 | 13806843.0489 | 13260856.0869 | 13260856.0869 | -0.041173 |  | DC | structural BOS | 12478572.6887 | 1328270.3603 | 0 |  | 13806843.0489 |  | PV ($/MW-ac) | 1309972.1084 | 77 MW AC PV |  |  | PV ($/MW-ac) | 630556.245
electrical BOS | 7220844.4979 | 9190374.9687 | 16895206.936 | 16411219.4665 | 16411219.4665 | -0.029491 |  | DC | electrical BOS | 7433796.2693 | 9461410.6667 | 0 |  | 16895206.936 |  | Storage ($/MWh-ac) | 424188.9706 | 240 MWh AC |  |  | Storage ($/MWh-ac) | 141861.827
installation labor/equipment | 11069288.3127 | 4119935.2325 | 14118324.7414 | 15189223.5452 | 15189223.5452 | 0.070504 |  | split 4-ways | installation labor/equipment | 6072034.0432 | 7282549.7537 | 763740.9446 |  | 14118324.7414 | [6 empty] | Storage ($/MW-ac) | 238220.323
EPC overhead | 5410367.763 | 2558661.8116 | 5826648.7144 | 7969029.5746 | 7969029.5746 | 0.26884 |  | split 4-ways | EPC overhead | 2505935.3712 | 3005516.5848 | 315196.7584 |  | 5826648.7144 | [6 empty] | 4 hour storage ($/MWh-ac) | 201416.9077
sales tax | 3810547.0484 | 3960296.3977 | 7308977.5294 | 7770843.4461 | 7770843.4461 | 0.059436 |  | split 4-ways | sales tax | 3143457.9663 | 3770135.1599 | 395384.4032 |  | 7308977.5294 |  | PV ($/MW-dc) | 811187.082 | 100 MW DC PV
land acquisition | 0 | 0 | 0 | 0 | 0 | #DIV/0! |  | split 4-ways | land acquisition | 0 | 0 | 0 |  | 0 |  | Storage ($/MWh-dc) | 405376.9463 | 240 MWh DC STOR |  |  | PV 2030:2018 Ratio | 0.48135
permitting fee | 196947.8242 | 181803.5856 | 181803.5856 | 378751.4098 | 378751.4098 | 0.51999 |  | split 4-ways | permitting fee | 78190.4072 | 93778.3825 | 9834.7959 |  | 181803.5856 |  | Inverter ($/MW-ac) | 132508.0238 | 77 MW AC GRID |  |  | Storage MWh 2030:2018 Ratio | 0.47483
interconnection fee | 2171572.4406 | 1302943.4643 | 2171572.4406 | 3474515.9049 | 3474515.9049 | 0.375 |  | inverter | interconnection fee | 0 | 0 | 2171572.4406 |  | 2171572.4406
contingency | 2429689.9572 | 2319958.3997 | 3762732.2909 | 4749648.3569 | 4749648.3569 | 0.20779 |  | split 4-ways | contingency | 1618282.5501 | 1940902.0277 | 203547.7131 |  | 3762732.2909
developer overhead | 1719057.6822 | 4702899.3419 | 5016976.3879 | 6421957.0241 | 6421957.0241 | 0.21878 |  | split 4-ways | developer overhead | 2157710.0668 | 2587869.3703 | 271396.9508 |  | 5016976.3879
EPC/developer net profit | 4250646.9364 | 4270225.672 | 6710205.9188 | 8520872.6084 | 8520872.6084 | 0.2125 |  | split 4-ways | EPC/developer net profit | 2885937.2144 | 3461275.2827 | 362993.4217 |  | 6710205.9188 | [6 empty] | PV ($/MW-dc) | 390465.6268
sum | 89.2636 | 90.0932 | 168.1683 |  | 179.3568 |  |  |  | sum | 71.7865 | 86.0978 | 9.0293 |  | 168.7968 | [6 empty] | Storage ($/MWh-dc) | 192484.4271
|  |  | 0.93762 |  | 162204646.5991 | [15 empty] | Inverter ($/MW-ac) | 63782.8557
[9 empty] | Ratio of AC:DC Costs | 0.80421 | 0.95565
annuitized standalone battery GCC (2022$) | 2560.5672 | [7 empty] | Percentage Increase from Baseline Inverter Cost |  |  | 0.00013462
[9 empty] | Subcomponent cost | 53324919.8163 | 63955731.9528 | 6707212.8286
[9 empty] | % of total cost | 0.43008 | 0.51582 | 0.054096
PV AC Costs | [15 empty] | Step 3: Annuitize Costs (2.5%, 30 years, PV Multipliers) |  |  |  |  | Substation Costs AC (4.4%, 60 years) |  | Inverter Costs AC (2.5%, 15 years,PV Multipliers) | https://www.nrel.gov/docs/fy20osti/74111.pdf | [6 empty] | Battery Pack (2.5%, 15 years, Bat Multipliers)
region | Resource | technology | Max_Cap_MW | capex_mw | Inv_Cost_per_MWyr | Fixed_OM_Cost_per_MWyr | interconnect_annuity | regional_cost_multiplier | wacc_real | lcoe | cap_recovery_years | calculated_inv | R_ID | ITC |  | Capex ($/MW) | Regional Capex ($/MW) | Investment Costs ($/MW-dc/yr) | Fixed O&M Costs |  | Investment Costs ($/MW-dc/yr) | Fixed O&M Costs | Capex ($/MW) | Regional Capex ($/MW) | Investment Costs ($/MW-dc/yr) | Fixed O&M Costs | Bat Multipliers | Total $/MW | Original AC $/MW | Percent Difference | Investment $/MWh-Dc | Fixed O&M $/MW/yr | IRA PLUS GRID
CA_N | CA_N_utilitypv_class1_advanced_0 | UtilityPV_Class1_Advanced_ | 7535.7 | 974897.121 | 53467 | 18611 | 2913.821 | 1.084 | 0.025 | 35.743 | 30 | 53617.0656 | 170 | 0.468 |  | 390465.6268 | 423264.7395 | 20307.6548 | 11724.93 |  | 2913.821 | 1861.1 | 63782.8557 | 66397.9527 | 2859.5886 | 5024.97 | 1.041 | 35424.4207 | 53467 | 0.33745 | 8629.6899 | 4812.1107 | 1550.1528
CA_N | CA_N_utilitypv_class1_advanced_1 | UtilityPV_Class1_Advanced_ | 3874.6 | 974897.121 | 55016 | 18611 | 4462.142 | 1.084 | 0.025 | 35.596 | 30 | 55165.3866 | 171 | 0.468 |  | 390465.6268 | 423264.7395 | 20307.6548 | 11724.93 |  | 4462.142 | 1861.1 | 63782.8557 | 66397.9527 | 2859.5886 | 5024.97 | 1.041 | 36972.7417 | 55016 | 0.32796 | 8629.6899 | 4812.1107 | 2373.8595
CA_N | CA_N_utilitypv_class1_advanced_2 | UtilityPV_Class1_Advanced_ | 12668.9 | 974897.121 | 59232 | 18611 | 8678.811 | 1.084 | 0.025 | 37.658 | 30 | 59382.0556 | 172 | 0.468 |  | 390465.6268 | 423264.7395 | 20307.6548 | 11724.93 |  | 8678.811 | 1861.1 | 63782.8557 | 66397.9527 | 2859.5886 | 5024.97 | 1.041 | 41189.4107 | 59232 | 0.30461 | 8629.6899 | 4812.1107 | 4617.1275
CA_N | CA_N_utilitypv_class1_advanced_3 | UtilityPV_Class1_Advanced_ | 10563.9 | 974897.121 | 57024 | 18611 | 6470.444 | 1.084 | 0.025 | 37.601 | 30 | 57173.6886 | 173 | 0.468 |  | 390465.6268 | 423264.7395 | 20307.6548 | 11724.93 |  | 6470.444 | 1861.1 | 63782.8557 | 66397.9527 | 2859.5886 | 5024.97 | 1.041 | 38981.0437 | 57024 | 0.31641 | 8629.6899 | 4812.1107 | 3442.2762
CA_N | CA_N_utilitypv_class1_advanced_4 | UtilityPV_Class1_Advanced_ | 10512.4 | 974897.121 | 62484 | 18611 | 11930.837 | 1.084 | 0.025 | 38.98 | 30 | 62634.0816 | 174 | 0.468 |  | 390465.6268 | 423264.7395 | 20307.6548 | 11724.93 |  | 11930.837 | 1861.1 | 63782.8557 | 66397.9527 | 2859.5886 | 5024.97 | 1.041 | 44441.4367 | 62484 | 0.28875 | 8629.6899 | 4812.1107 | 6347.2053
CA_N | CA_N_utilitypv_class1_advanced_5 | UtilityPV_Class1_Advanced_ | 14236.8 | 974897.121 | 60364 | 18611 | 9810.042 | 1.084 | 0.025 | 39.059 | 30 | 60513.2866 | 175 | 0.468 |  | 390465.6268 | 423264.7395 | 20307.6548 | 11724.93 |  | 9810.042 | 1861.1 | 63782.8557 | 66397.9527 | 2859.5886 | 5024.97 | 1.041 | 42320.6417 | 60364 | 0.29891 | 8629.6899 | 4812.1107 | 5218.9423
CA_S | CA_S_utilitypv_class1_advanced_0 | UtilityPV_Class1_Advanced_ | 6812.9 | 974897.121 | 52268 | 18611 | 2905.887 | 1.059 | 0.025 | 34.575 | 30 | 52439.7763 | 187 | 0.468 |  | 390465.6268 | 413503.0988 | 19839.3048 | 11724.93 |  | 2905.887 | 1861.1 | 63782.8557 | 66461.7356 | 2862.3355 | 5024.97 | 1.042 | 34743.0334 | 52268 | 0.33529 | 8637.9797 | 4812.1107 | 1545.9319
CA_S | CA_S_utilitypv_class1_advanced_1 | UtilityPV_Class1_Advanced_ | 4305 | 974897.121 | 54811 | 18611 | 5448.393 | 1.059 | 0.025 | 34.374 | 30 | 54982.2823 | 188 | 0.468 |  | 390465.6268 | 413503.0988 | 19839.3048 | 11724.93 |  | 5448.393 | 1861.1 | 63782.8557 | 66461.7356 | 2862.3355 | 5024.97 | 1.042 | 37285.5394 | 54811 | 0.31974 | 8637.9797 | 4812.1107 | 2898.5451
CA_S | CA_S_utilitypv_class1_advanced_2 | UtilityPV_Class1_Advanced_ | 12643.6 | 974897.121 | 61284 | 18611 | 11921.844 | 1.059 | 0.025 | 36.623 | 30 | 61455.7333 | 189 | 0.468 |  | 390465.6268 | 413503.0988 | 19839.3048 | 11724.93 |  | 11921.844 | 1861.1 | 63782.8557 | 66461.7356 | 2862.3355 | 5024.97 | 1.042 | 43758.9904 | 61284 | 0.28596 | 8637.9797 | 4812.1107 | 6342.421
CA_S | CA_S_utilitypv_class1_advanced_3 | UtilityPV_Class1_Advanced_ | 4016.6 | 974897.121 | 56108 | 18611 | 6745.124 | 1.059 | 0.025 | 36.281 | 30 | 56279.0133 | 190 | 0.468 |  | 390465.6268 | 413503.0988 | 19839.3048 | 11724.93 |  | 6745.124 | 1861.1 | 63782.8557 | 66461.7356 | 2862.3355 | 5024.97 | 1.042 | 38582.2704 | 56108 | 0.31236 | 8637.9797 | 4812.1107 | 3588.406
CA_S | CA_S_utilitypv_class1_advanced_4 | UtilityPV_Class1_Advanced_ | 12844.5 | 974897.121 | 66613 | 18611 | 17250.161 | 1.059 | 0.025 | 38.711 | 30 | 66784.0503 | 191 | 0.468 |  | 390465.6268 | 413503.0988 | 19839.3048 | 11724.93 |  | 17250.161 | 1861.1 | 63782.8557 | 66461.7356 | 2862.3355 | 5024.97 | 1.042 | 49087.3074 | 66613 | 0.2631 | 8637.9797 | 4812.1107 | 9177.0857
CA_S | CA_S_utilitypv_class1_advanced_5 | UtilityPV_Class1_Advanced_ | 1365.2 | 974897.121 | 62568 | 18611 | 13205.952 | 1.059 | 0.025 | 38.645 | 30 | 62739.8413 | 192 | 0.468 |  | 390465.6268 | 413503.0988 | 19839.3048 | 11724.93 |  | 13205.952 | 1861.1 | 63782.8557 | 66461.7356 | 2862.3355 | 5024.97 | 1.042 | 45043.0984 | 62568 | 0.28009 | 8637.9797 | 4812.1107 | 7025.5665
WECC_AZ | WECC_AZ_utilitypv_class1_advanced_0 | UtilityPV_Class1_Advanced_ | 9012.3 | 974897.121 | 48185 | 18611 | 3167.206 | 0.965 | 0.025 | 31.866 | 30 | 48304.3195 | 201 | 0.468 |  | 390465.6268 | 376799.3299 | 18078.3089 | 11724.93 |  | 3167.206 | 1861.1 | 63782.8557 | 64548.2499 | 2779.9266 | 5024.97 | 1.012 | 32369.1262 | 48185 | 0.32823 | 8389.2855 | 4812.1107 | 1684.9536
WECC_AZ | WECC_AZ_utilitypv_class1_advanced_1 | UtilityPV_Class1_Advanced_ | 10858.3 | 974897.121 | 47554 | 18611 | 2536.349 | 0.965 | 0.025 | 32.284 | 30 | 47673.4625 | 202 | 0.468 |  | 390465.6268 | 376799.3299 | 18078.3089 | 11724.93 |  | 2536.349 | 1861.1 | 63782.8557 | 64548.2499 | 2779.9266 | 5024.97 | 1.012 | 31738.2692 | 47554 | 0.33258 | 8389.2855 | 4812.1107 | 1349.3377
WECC_AZ | WECC_AZ_utilitypv_class1_advanced_2 | UtilityPV_Class1_Advanced_ | 55406.5 | 974897.121 | 51441 | 18611 | 6423.252 | 0.965 | 0.025 | 34.002 | 30 | 51560.3655 | 203 | 0.468 |  | 390465.6268 | 376799.3299 | 18078.3089 | 11724.93 |  | 6423.252 | 1861.1 | 63782.8557 | 64548.2499 | 2779.9266 | 5024.97 | 1.012 | 35625.1722 | 51441 | 0.30746 | 8389.2855 | 4812.1107 | 3417.1701
WECC_AZ | WECC_AZ_utilitypv_class1_advanced_3 | UtilityPV_Class1_Advanced_ | 47926.6 | 974897.121 | 53655 | 18611 | 8637.135 | 0.965 | 0.025 | 34.234 | 30 | 53774.2485 | 204 | 0.468 |  | 390465.6268 | 376799.3299 | 18078.3089 | 11724.93 |  | 8637.135 | 1861.1 | 63782.8557 | 64548.2499 | 2779.9266 | 5024.97 | 1.012 | 37839.0552 | 53655 | 0.29477 | 8389.2855 | 4812.1107 | 4594.9558
WECC_AZ | WECC_AZ_utilitypv_class1_advanced_4 | UtilityPV_Class1_Advanced_ | 93964.7 | 974897.121 | 59610 | 18611 | 14592.597 | 0.965 | 0.025 | 36.588 | 30 | 59729.7105 | 205 | 0.468 |  | 390465.6268 | 376799.3299 | 18078.3089 | 11724.93 |  | 14592.597 | 1861.1 | 63782.8557 | 64548.2499 | 2779.9266 | 5024.97 | 1.012 | 43794.5172 | 59610 | 0.26532 | 8389.2855 | 4812.1107 | 7763.2616
WECC_AZ | WECC_AZ_utilitypv_class1_advanced_5 | UtilityPV_Class1_Advanced_ | 41266.4 | 974897.121 | 56734 | 18611 | 11716.691 | 0.965 | 0.025 | 36.05 | 30 | 56853.8045 | 206 | 0.468 |  | 390465.6268 | 376799.3299 | 18078.3089 | 11724.93 |  | 11716.691 | 1861.1 | 63782.8557 | 64548.2499 | 2779.9266 | 5024.97 | 1.012 | 40918.6112 | 56734 | 0.27876 | 8389.2855 | 4812.1107 | 6233.2796
WECC_AZ | WECC_AZ_utilitypv_class1_advanced_6 | UtilityPV_Class1_Advanced_ | 101018.5 | 974897.121 | 64449 | 18611 | 19431.433 | 0.965 | 0.025 | 38.809 | 30 | 64568.5465 | 207 | 0.468 |  | 390465.6268 | 376799.3299 | 18078.3089 | 11724.93 |  | 19431.433 | 1861.1 | 63782.8557 | 64548.2499 | 2779.9266 | 5024.97 | 1.012 | 48633.3532 | 64449 | 0.2454 | 8389.2855 | 4812.1107 | 10337.5224
WECC_AZ | WECC_AZ_utilitypv_class1_advanced_7 | UtilityPV_Class1_Advanced_ | 41078.1 | 974897.121 | 67034 | 18611 | 22016.967 | 0.965 | 0.025 | 38.988 | 30 | 67154.0805 | 208 | 0.468 |  | 390465.6268 | 376799.3299 | 18078.3089 | 11724.93 |  | 22016.967 | 1861.1 | 63782.8557 | 64548.2499 | 2779.9266 | 5024.97 | 1.012 | 51218.8872 | 67034 | 0.23593 | 8389.2855 | 4812.1107 | 11713.0264
WECC_CO | WECC_CO_utilitypv_class1_advanced_0 | UtilityPV_Class1_Advanced_ | 2568.9 | 974897.121 | 48632 | 18611 | 3088.072 | 0.977 | 0.025 | 33.187 | 30 | 48786.476 | 222 | 0.468 |  | 390465.6268 | 381484.9174 | 18303.1169 | 11724.93 |  | 3088.072 | 1861.1 | 63782.8557 | 63208.81 | 2722.2404 | 5024.97 | 0.991 | 32550.6191 | 48632 | 0.33067 | 8215.1995 | 4812.1107 | 1642.8543
WECC_CO | WECC_CO_utilitypv_class1_advanced_1 | UtilityPV_Class1_Advanced_ | 4181.2 | 974897.121 | 47780 | 18611 | 2236.081 | 0.977 | 0.025 | 34.494 | 30 | 47934.485 | 223 | 0.468 |  | 390465.6268 | 381484.9174 | 18303.1169 | 11724.93 |  | 2236.081 | 1861.1 | 63782.8557 | 63208.81 | 2722.2404 | 5024.97 | 0.991 | 31698.6281 | 47780 | 0.33657 | 8215.1995 | 4812.1107 | 1189.5951
WECC_CO | WECC_CO_utilitypv_class1_advanced_2 | UtilityPV_Class1_Advanced_ | 44585.4 | 974897.121 | 52196 | 18611 | 6652.3 | 0.977 | 0.025 | 36.349 | 30 | 52350.704 | 224 | 0.468 |  | 390465.6268 | 381484.9174 | 18303.1169 | 11724.93 |  | 6652.3 | 1861.1 | 63782.8557 | 63208.81 | 2722.2404 | 5024.97 | 0.991 | 36114.8471 | 52196 | 0.30809 | 8215.1995 | 4812.1107 | 3539.0236
WECC_CO | WECC_CO_utilitypv_class1_advanced_3 | UtilityPV_Class1_Advanced_ | 20252.6 | 974897.121 | 55380 | 18611 | 9836.243 | 0.977 | 0.025 | 36.509 | 30 | 55534.647 | 225 | 0.468 |  | 390465.6268 | 381484.9174 | 18303.1169 | 11724.93 |  | 9836.243 | 1861.1 | 63782.8557 | 63208.81 | 2722.2404 | 5024.97 | 0.991 | 39298.7901 | 55380 | 0.29038 | 8215.1995 | 4812.1107 | 5232.8813
WECC_CO | WECC_CO_utilitypv_class1_advanced_4 | UtilityPV_Class1_Advanced_ | 108475.3 | 974897.121 | 58534 | 18611 | 12990.508 | 0.977 | 0.025 | 38.628 | 30 | 58688.912 | 226 | 0.468 |  | 390465.6268 | 381484.9174 | 18303.1169 | 11724.93 |  | 12990.508 | 1861.1 | 63782.8557 | 63208.81 | 2722.2404 | 5024.97 | 0.991 | 42453.0551 | 58534 | 0.27473 | 8215.1995 | 4812.1107 | 6910.9503
WECC_CO | WECC_CO_utilitypv_class1_advanced_5 | UtilityPV_Class1_Advanced_ | 33490.8 | 974897.121 | 63336 | 18611 | 17792.155 | 0.977 | 0.025 | 38.854 | 30 | 63490.559 | 227 | 0.468 |  | 390465.6268 | 381484.9174 | 18303.1169 | 11724.93 |  | 17792.155 | 1861.1 | 63782.8557 | 63208.81 | 2722.2404 | 5024.97 | 0.991 | 47254.7021 | 63336 | 0.2539 | 8215.1995 | 4812.1107 | 9465.4265
WECC_ID | WECC_ID_utilitypv_class1_advanced_0 | UtilityPV_Class1_Advanced_ | 5585.6 | 974897.121 | 49097 | 18611 | 3133.536 | 0.986 | 0.025 | 35.874 | 30 | 49252.9079 | 247 | 0.468 |  | 390465.6268 | 384999.108 | 18471.7229 | 11724.93 |  | 3133.536 | 1861.1 | 63782.8557 | 65760.1242 | 2832.1189 | 5024.97 | 1.031 | 32961.7123 | 49097 | 0.32864 | 8546.7918 | 4812.1107 | 1667.0412
WECC_ID | WECC_ID_utilitypv_class1_advanced_1 | UtilityPV_Class1_Advanced_ | 8675.4 | 974897.121 | 51404 | 18611 | 5440.064 | 0.986 | 0.025 | 36.023 | 30 | 51559.4359 | 248 | 0.468 |  | 390465.6268 | 384999.108 | 18471.7229 | 11724.93 |  | 5440.064 | 1861.1 | 63782.8557 | 65760.1242 | 2832.1189 | 5024.97 | 1.031 | 35268.2403 | 51404 | 0.3139 | 8546.7918 | 4812.1107 | 2894.114
WECC_ID | WECC_ID_utilitypv_class1_advanced_2 | UtilityPV_Class1_Advanced_ | 30169.4 | 974897.121 | 55394 | 18611 | 9430.22 | 0.986 | 0.025 | 38.847 | 30 | 55549.5919 | 249 | 0.468 |  | 390465.6268 | 384999.108 | 18471.7229 | 11724.93 |  | 9430.22 | 1861.1 | 63782.8557 | 65760.1242 | 2832.1189 | 5024.97 | 1.031 | 39258.3963 | 55394 | 0.29129 | 8546.7918 | 4812.1107 | 5016.877
WECC_ID | WECC_ID_utilitypv_class1_advanced_3 | UtilityPV_Class1_Advanced_ | 11437.7 | 974897.121 | 58924 | 18611 | 12960.213 | 0.986 | 0.025 | 38.719 | 30 | 59079.5849 | 250 | 0.468 |  | 390465.6268 | 384999.108 | 18471.7229 | 11724.93 |  | 12960.213 | 1861.1 | 63782.8557 | 65760.1242 | 2832.1189 | 5024.97 | 1.031 | 42788.3893 | 58924 | 0.27384 | 8546.7918 | 4812.1107 | 6894.8333
WECC_IID | WECC_IID_utilitypv_class1_advanced_0 | UtilityPV_Class1_Advanced_ | 6954 | 974897.121 | 56988 | 18611 | 7625.853 | 1.059 | 0.025 | 35.846 | 30 | 57159.7423 | 261 | 0.468 |  | 390465.6268 | 413503.0988 | 19839.3048 | 11724.93 |  | 7625.853 | 1861.1 | 63782.8557 | 66461.7356 | 2862.3355 | 5024.97 | 1.042 | 39462.9994 | 56988 | 0.30752 | 8637.9797 | 4812.1107 | 4056.9538
WECC_IID | WECC_IID_utilitypv_class1_advanced_1 | UtilityPV_Class1_Advanced_ | 20320.2 | 974897.121 | 54167 | 18611 | 4804.176 | 1.059 | 0.025 | 35.27 | 30 | 54338.0653 | 262 | 0.468 |  | 390465.6268 | 413503.0988 | 19839.3048 | 11724.93 |  | 4804.176 | 1861.1 | 63782.8557 | 66461.7356 | 2862.3355 | 5024.97 | 1.042 | 36641.3224 | 54167 | 0.32355 | 8637.9797 | 4812.1107 | 2555.8216
WECC_IID | WECC_IID_utilitypv_class1_advanced_2 | UtilityPV_Class1_Advanced_ | 11694.2 | 974897.121 | 67831 | 18611 | 18468.215 | 1.059 | 0.025 | 38.866 | 30 | 68002.1043 | 263 | 0.468 |  | 390465.6268 | 413503.0988 | 19839.3048 | 11724.93 |  | 18468.215 | 1861.1 | 63782.8557 | 66461.7356 | 2862.3355 | 5024.97 | 1.042 | 50305.3614 | 67831 | 0.25837 | 8637.9797 | 4812.1107 | 9825.0904
WECC_IID | WECC_IID_utilitypv_class1_advanced_3 | UtilityPV_Class1_Advanced_ | 4762.7 | 974897.121 | 65582 | 18611 | 16219.341 | 1.059 | 0.025 | 38.786 | 30 | 65753.2303 | 264 | 0.468 |  | 390465.6268 | 413503.0988 | 19839.3048 | 11724.93 |  | 16219.341 | 1861.1 | 63782.8557 | 66461.7356 | 2862.3355 | 5024.97 | 1.042 | 48056.4874 | 65582 | 0.26723 | 8637.9797 | 4812.1107 | 8628.6894
WECC_MT | WECC_MT_utilitypv_class1_advanced_0 | UtilityPV_Class1_Advanced_ | 2685.9 | 974897.121 | 48983 | 18611 | 2843.442 | 0.989 | 0.025 | 37.651 | 30 | 49103.1365 | 272 | 0.468 |  | 390465.6268 | 386170.5049 | 18527.9249 | 11724.93 |  | 2843.442 | 1861.1 | 63782.8557 | 65313.6442 | 2812.8902 | 5024.97 | 1.024 | 32731.4337 | 48983 | 0.33178 | 8488.7631 | 4812.1107 | 1512.7111
WECC_MT | WECC_MT_utilitypv_class1_advanced_1 | UtilityPV_Class1_Advanced_ | 74.5 | 974897.121 | 51278 | 18611 | 5138.822 | 0.989 | 0.025 | 36.917 | 30 | 51398.5165 | 273 | 0.468 |  | 390465.6268 | 386170.5049 | 18527.9249 | 11724.93 |  | 5138.822 | 1861.1 | 63782.8557 | 65313.6442 | 2812.8902 | 5024.97 | 1.024 | 35026.8137 | 51278 | 0.31692 | 8488.7631 | 4812.1107 | 2733.8533
WECC_MT | WECC_MT_utilitypv_class1_advanced_2 | UtilityPV_Class1_Advanced_ | 43877.6 | 974897.121 | 52372 | 18611 | 6232.148 | 0.989 | 0.025 | 39.314 | 30 | 52491.8425 | 274 | 0.468 |  | 390465.6268 | 386170.5049 | 18527.9249 | 11724.93 |  | 6232.148 | 1861.1 | 63782.8557 | 65313.6442 | 2812.8902 | 5024.97 | 1.024 | 36120.1397 | 52372 | 0.31032 | 8488.7631 | 4812.1107 | 3315.5027
WECC_MT | WECC_MT_utilitypv_class1_advanced_3 | UtilityPV_Class1_Advanced_ | 1442.5 | 974897.121 | 48252 | 18611 | 2112.095 | 0.989 | 0.025 | 38.833 | 30 | 48371.7895 | 275 | 0.468 |  | 390465.6268 | 386170.5049 | 18527.9249 | 11724.93 |  | 2112.095 | 1861.1 | 63782.8557 | 65313.6442 | 2812.8902 | 5024.97 | 1.024 | 32000.0867 | 48252 | 0.33681 | 8488.7631 | 4812.1107 | 1123.6345
WECC_NM | WECC_NM_utilitypv_class1_advanced_0 | UtilityPV_Class1_Advanced_ | 24181.3 | 974897.121 | 50021 | 18611 | 5003.164 | 0.965 | 0.025 | 31.936 | 30 | 50140.2775 | 293 | 0.468 |  | 390465.6268 | 376799.3299 | 18078.3089 | 11724.93 |  | 5003.164 | 1861.1 | 63782.8557 | 64548.2499 | 2779.9266 | 5024.97 | 1.012 | 34205.0842 | 50021 | 0.31619 | 8389.2855 | 4812.1107 | 2661.6832
WECC_NM | WECC_NM_utilitypv_class1_advanced_1 | UtilityPV_Class1_Advanced_ | 15380.2 | 974897.121 | 48634 | 18611 | 3616.921 | 0.965 | 0.025 | 31.797 | 30 | 48754.0345 | 294 | 0.468 |  | 390465.6268 | 376799.3299 | 18078.3089 | 11724.93 |  | 3616.921 | 1861.1 | 63782.8557 | 64548.2499 | 2779.9266 | 5024.97 | 1.012 | 32818.8412 | 48634 | 0.32519 | 8389.2855 | 4812.1107 | 1924.202
WECC_NM | WECC_NM_utilitypv_class1_advanced_2 | UtilityPV_Class1_Advanced_ | 44297.8 | 974897.121 | 55536 | 18611 | 10518.258 | 0.965 | 0.025 | 34.005 | 30 | 55655.3715 | 295 | 0.468 |  | 390465.6268 | 376799.3299 | 18078.3089 | 11724.93 |  | 10518.258 | 1861.1 | 63782.8557 | 64548.2499 | 2779.9266 | 5024.97 | 1.012 | 39720.1782 | 55536 | 0.28479 | 8389.2855 | 4812.1107 | 5595.7133
WECC_NM | WECC_NM_utilitypv_class1_advanced_3 | UtilityPV_Class1_Advanced_ | 50137.8 | 974897.121 | 54440 | 18611 | 9422.582 | 0.965 | 0.025 | 34.08 | 30 | 54559.6955 | 296 | 0.468 |  | 390465.6268 | 376799.3299 | 18078.3089 | 11724.93 |  | 9422.582 | 1861.1 | 63782.8557 | 64548.2499 | 2779.9266 | 5024.97 | 1.012 | 38624.5022 | 54440 | 0.29051 | 8389.2855 | 4812.1107 | 5012.8136
WECC_NM | WECC_NM_utilitypv_class1_advanced_4 | UtilityPV_Class1_Advanced_ | 81329.8 | 974897.121 | 60385 | 18611 | 15367.22 | 0.965 | 0.025 | 36.432 | 30 | 60504.3335 | 297 | 0.468 |  | 390465.6268 | 376799.3299 | 18078.3089 | 11724.93 |  | 15367.22 | 1861.1 | 63782.8557 | 64548.2499 | 2779.9266 | 5024.97 | 1.012 | 44569.1402 | 60385 | 0.26192 | 8389.2855 | 4812.1107 | 8175.361
WECC_NM | WECC_NM_utilitypv_class1_advanced_5 | UtilityPV_Class1_Advanced_ | 45151.7 | 974897.121 | 61122 | 18611 | 16104.968 | 0.965 | 0.025 | 36.305 | 30 | 61242.0815 | 298 | 0.468 |  | 390465.6268 | 376799.3299 | 18078.3089 | 11724.93 |  | 16104.968 | 1861.1 | 63782.8557 | 64548.2499 | 2779.9266 | 5024.97 | 1.012 | 45306.8882 | 61122 | 0.25875 | 8389.2855 | 4812.1107 | 8567.843
WECC_NM | WECC_NM_utilitypv_class1_advanced_6 | UtilityPV_Class1_Advanced_ | 215600.3 | 974897.121 | 66431 | 18611 | 21413.745 | 0.965 | 0.025 | 38.794 | 30 | 66550.8585 | 299 | 0.468 |  | 390465.6268 | 376799.3299 | 18078.3089 | 11724.93 |  | 21413.745 | 1861.1 | 63782.8557 | 64548.2499 | 2779.9266 | 5024.97 | 1.012 | 50615.6652 | 66431 | 0.23807 | 8389.2855 | 4812.1107 | 11392.1123
WECC_NM | WECC_NM_utilitypv_class1_advanced_7 | UtilityPV_Class1_Advanced_ | 112315.6 | 974897.121 | 66347 | 18611 | 21329.785 | 0.965 | 0.025 | 39.261 | 30 | 66466.8985 | 300 | 0.468 |  | 390465.6268 | 376799.3299 | 18078.3089 | 11724.93 |  | 21329.785 | 1861.1 | 63782.8557 | 64548.2499 | 2779.9266 | 5024.97 | 1.012 | 50531.7052 | 66347 | 0.23837 | 8389.2855 | 4812.1107 | 11347.4456
WECC_NNV | WECC_NNV_utilitypv_class1_advanced_0 | UtilityPV_Class1_Advanced_ | 7736.4 | 974897.121 | 50757 | 18611 | 4793.505 | 0.986 | 0.025 | 32.548 | 30 | 50912.8769 | 321 | 0.468 |  | 390465.6268 | 384999.108 | 18471.7229 | 11724.93 |  | 4793.505 | 1861.1 | 63782.8557 | 65760.1242 | 2832.1189 | 5024.97 | 1.031 | 34621.6813 | 50757 | 0.31789 | 8546.7918 | 4812.1107 | 2550.1447
WECC_NNV | WECC_NNV_utilitypv_class1_advanced_1 | UtilityPV_Class1_Advanced_ | 354.8 | 974897.121 | 49783 | 18611 | 3819.459 | 0.986 | 0.025 | 30.302 | 30 | 49938.8309 | 322 | 0.468 |  | 390465.6268 | 384999.108 | 18471.7229 | 11724.93 |  | 3819.459 | 1861.1 | 63782.8557 | 65760.1242 | 2832.1189 | 5024.97 | 1.031 | 33647.6353 | 49783 | 0.32411 | 8546.7918 | 4812.1107 | 2031.9522
WECC_NNV | WECC_NNV_utilitypv_class1_advanced_2 | UtilityPV_Class1_Advanced_ | 24941.4 | 974897.121 | 56812 | 18611 | 10848.963 | 0.986 | 0.025 | 35.819 | 30 | 56968.3349 | 323 | 0.468 |  | 390465.6268 | 384999.108 | 18471.7229 | 11724.93 |  | 10848.963 | 1861.1 | 63782.8557 | 65760.1242 | 2832.1189 | 5024.97 | 1.031 | 40677.1393 | 56812 | 0.284 | 8546.7918 | 4812.1107 | 5771.6483
WECC_NNV | WECC_NNV_utilitypv_class1_advanced_3 | UtilityPV_Class1_Advanced_ | 22001.4 | 974897.121 | 56346 | 18611 | 10382.448 | 0.986 | 0.025 | 35.118 | 30 | 56501.8199 | 324 | 0.468 |  | 390465.6268 | 384999.108 | 18471.7229 | 11724.93 |  | 10382.448 | 1861.1 | 63782.8557 | 65760.1242 | 2832.1189 | 5024.97 | 1.031 | 40210.6243 | 56346 | 0.28636 | 8546.7918 | 4812.1107 | 5523.4623
WECC_NNV | WECC_NNV_utilitypv_class1_advanced_4 | UtilityPV_Class1_Advanced_ | 71318.3 | 974897.121 | 63428 | 18611 | 17464.09 | 0.986 | 0.025 | 38.336 | 30 | 63583.4619 | 325 | 0.468 |  | 390465.6268 | 384999.108 | 18471.7229 | 11724.93 |  | 17464.09 | 1861.1 | 63782.8557 | 65760.1242 | 2832.1189 | 5024.97 | 1.031 | 47292.2663 | 63428 | 0.25439 | 8546.7918 | 4812.1107 | 9290.8959
WECC_NNV | WECC_NNV_utilitypv_class1_advanced_5 | UtilityPV_Class1_Advanced_ | 25515.4 | 974897.121 | 61548 | 18611 | 15584.208 | 0.986 | 0.025 | 38.437 | 30 | 61703.5799 | 326 | 0.468 |  | 390465.6268 | 384999.108 | 18471.7229 | 11724.93 |  | 15584.208 | 1861.1 | 63782.8557 | 65760.1242 | 2832.1189 | 5024.97 | 1.031 | 45412.3843 | 61548 | 0.26216 | 8546.7918 | 4812.1107 | 8290.7987
WECC_PNW | WECC_PNW_utilitypv_class1_advanced_0 | UtilityPV_Class1_Advanced_ | 2050.4 | 974897.121 | 48955 | 18611 | 2815.987 | 0.989 | 0.025 | 35.418 | 30 | 49075.6815 | 335 | 0.468 |  | 390465.6268 | 386170.5049 | 18527.9249 | 11724.93 |  | 2815.987 | 1861.1 | 63782.8557 | 65313.6442 | 2812.8902 | 5024.97 | 1.024 | 32703.9787 | 48955 | 0.33196 | 8488.7631 | 4812.1107 | 1498.1051
WECC_PNW | WECC_PNW_utilitypv_class1_advanced_1 | UtilityPV_Class1_Advanced_ | 478.7 | 974897.121 | 48147 | 18611 | 2007.696 | 0.989 | 0.025 | 33.543 | 30 | 48267.3905 | 336 | 0.468 |  | 390465.6268 | 386170.5049 | 18527.9249 | 11724.93 |  | 2007.696 | 1861.1 | 63782.8557 | 65313.6442 | 2812.8902 | 5024.97 | 1.024 | 31895.6877 | 48147 | 0.33754 | 8488.7631 | 4812.1107 | 1068.0943
WECC_PNW | WECC_PNW_utilitypv_class1_advanced_2 | UtilityPV_Class1_Advanced_ | 7285.7 | 974897.121 | 51494 | 18611 | 5354.689 | 0.989 | 0.025 | 37.734 | 30 | 51614.3835 | 337 | 0.468 |  | 390465.6268 | 386170.5049 | 18527.9249 | 11724.93 |  | 5354.689 | 1861.1 | 63782.8557 | 65313.6442 | 2812.8902 | 5024.97 | 1.024 | 35242.6807 | 51494 | 0.3156 | 8488.7631 | 4812.1107 | 2848.6945
WECC_PNW | WECC_PNW_utilitypv_class1_advanced_3 | UtilityPV_Class1_Advanced_ | 10319.3 | 974897.121 | 48731 | 18611 | 2591.564 | 0.989 | 0.025 | 38.793 | 30 | 48851.2585 | 338 | 0.468 |  | 390465.6268 | 386170.5049 | 18527.9249 | 11724.93 |  | 2591.564 | 1861.1 | 63782.8557 | 65313.6442 | 2812.8902 | 5024.97 | 1.024 | 32479.5557 | 48731 | 0.33349 | 8488.7631 | 4812.1107 | 1378.712
WECC_SNV | WECC_SNV_utilitypv_class1_advanced_0 | UtilityPV_Class1_Advanced_ | 8040 | 974897.121 | 50727 | 18611 | 5709.411 | 0.965 | 0.025 | 32.742 | 30 | 50846.5245 | 351 | 0.468 |  | 390465.6268 | 376799.3299 | 18078.3089 | 11724.93 |  | 5709.411 | 1861.1 | 63782.8557 | 64548.2499 | 2779.9266 | 5024.97 | 1.012 | 34911.3312 | 50727 | 0.31178 | 8389.2855 | 4812.1107 | 3037.4067
WECC_SNV | WECC_SNV_utilitypv_class1_advanced_1 | UtilityPV_Class1_Advanced_ | 3719.5 | 974897.121 | 49744 | 18611 | 4726.624 | 0.965 | 0.025 | 31.847 | 30 | 49863.7375 | 352 | 0.468 |  | 390465.6268 | 376799.3299 | 18078.3089 | 11724.93 |  | 4726.624 | 1861.1 | 63782.8557 | 64548.2499 | 2779.9266 | 5024.97 | 1.012 | 33928.5442 | 49744 | 0.31794 | 8389.2855 | 4812.1107 | 2514.564
WECC_SNV | WECC_SNV_utilitypv_class1_advanced_2 | UtilityPV_Class1_Advanced_ | 25219.7 | 974897.121 | 59956 | 18611 | 14938.814 | 0.965 | 0.025 | 35.795 | 30 | 60075.9275 | 353 | 0.468 |  | 390465.6268 | 376799.3299 | 18078.3089 | 11724.93 |  | 14938.814 | 1861.1 | 63782.8557 | 64548.2499 | 2779.9266 | 5024.97 | 1.012 | 44140.7342 | 59956 | 0.26378 | 8389.2855 | 4812.1107 | 7947.449
WECC_SNV | WECC_SNV_utilitypv_class1_advanced_3 | UtilityPV_Class1_Advanced_ | 25306.9 | 974897.121 | 57089 | 18611 | 12071.126 | 0.965 | 0.025 | 35.376 | 30 | 57208.2395 | 354 | 0.468 |  | 390465.6268 | 376799.3299 | 18078.3089 | 11724.93 |  | 12071.126 | 1861.1 | 63782.8557 | 64548.2499 | 2779.9266 | 5024.97 | 1.012 | 41273.0462 | 57089 | 0.27704 | 8389.2855 | 4812.1107 | 6421.839
WECC_SNV | WECC_SNV_utilitypv_class1_advanced_4 | UtilityPV_Class1_Advanced_ | 48401.4 | 974897.121 | 65067 | 18611 | 20049.886 | 0.965 | 0.025 | 38.72 | 30 | 65186.9995 | 355 | 0.468 |  | 390465.6268 | 376799.3299 | 18078.3089 | 11724.93 |  | 20049.886 | 1861.1 | 63782.8557 | 64548.2499 | 2779.9266 | 5024.97 | 1.012 | 49251.8062 | 65067 | 0.24306 | 8389.2855 | 4812.1107 | 10666.5394
WECC_SNV | WECC_SNV_utilitypv_class1_advanced_5 | UtilityPV_Class1_Advanced_ | 39619.8 | 974897.121 | 65401 | 18611 | 20383.115 | 0.965 | 0.025 | 38.221 | 30 | 65520.2285 | 356 | 0.468 |  | 390465.6268 | 376799.3299 | 18078.3089 | 11724.93 |  | 20383.115 | 1861.1 | 63782.8557 | 64548.2499 | 2779.9266 | 5024.97 | 1.012 | 49585.0352 | 65401 | 0.24183 | 8389.2855 | 4812.1107 | 10843.8172
WECC_UT | WECC_UT_utilitypv_class1_advanced_0 | UtilityPV_Class1_Advanced_ | 1612.4 | 974897.121 | 50604 | 18611 | 4640.771 | 0.986 | 0.025 | 35.657 | 30 | 50760.1429 | 365 | 0.468 |  | 390465.6268 | 384999.108 | 18471.7229 | 11724.93 |  | 4640.771 | 1861.1 | 63782.8557 | 65760.1242 | 2832.1189 | 5024.97 | 1.031 | 34468.9473 | 50604 | 0.31885 | 8546.7918 | 4812.1107 | 2468.8902
WECC_UT | WECC_UT_utilitypv_class1_advanced_1 | UtilityPV_Class1_Advanced_ | 1022 | 974897.121 | 51425 | 18611 | 5461.524 | 0.986 | 0.025 | 33.615 | 30 | 51580.8959 | 366 | 0.468 |  | 390465.6268 | 384999.108 | 18471.7229 | 11724.93 |  | 5461.524 | 1861.1 | 63782.8557 | 65760.1242 | 2832.1189 | 5024.97 | 1.031 | 35289.7003 | 51425 | 0.31376 | 8546.7918 | 4812.1107 | 2905.5308
WECC_UT | WECC_UT_utilitypv_class1_advanced_2 | UtilityPV_Class1_Advanced_ | 13742.2 | 974897.121 | 54920 | 18611 | 8956.109 | 0.986 | 0.025 | 37.871 | 30 | 55075.4809 | 367 | 0.468 |  | 390465.6268 | 384999.108 | 18471.7229 | 11724.93 |  | 8956.109 | 1861.1 | 63782.8557 | 65760.1242 | 2832.1189 | 5024.97 | 1.031 | 38784.2853 | 54920 | 0.2938 | 8546.7918 | 4812.1107 | 4764.65
WECC_UT | WECC_UT_utilitypv_class1_advanced_3 | UtilityPV_Class1_Advanced_ | 15728.7 | 974897.121 | 59834 | 18611 | 13870.761 | 0.986 | 0.025 | 38.732 | 30 | 59990.1329 | 368 | 0.468 |  | 390465.6268 | 384999.108 | 18471.7229 | 11724.93 |  | 13870.761 | 1861.1 | 63782.8557 | 65760.1242 | 2832.1189 | 5024.97 | 1.031 | 43698.9373 | 59834 | 0.26966 | 8546.7918 | 4812.1107 | 7379.2449
WECC_WY | WECC_WY_utilitypv_class1_advanced_0 | UtilityPV_Class1_Advanced_ | 12277.7 | 974897.121 | 49599 | 18611 | 3635.726 | 0.986 | 0.025 | 35.264 | 30 | 49755.0979 | 378 | 0.468 |  | 390465.6268 | 384999.108 | 18471.7229 | 11724.93 |  | 3635.726 | 1861.1 | 63782.8557 | 65760.1242 | 2832.1189 | 5024.97 | 1.031 | 33463.9023 | 49599 | 0.32531 | 8546.7918 | 4812.1107 | 1934.2062
WECC_WY | WECC_WY_utilitypv_class1_advanced_1 | UtilityPV_Class1_Advanced_ | 1062.4 | 974897.121 | 49081 | 18611 | 3117.486 | 0.986 | 0.025 | 34.381 | 30 | 49236.8579 | 379 | 0.468 |  | 390465.6268 | 384999.108 | 18471.7229 | 11724.93 |  | 3117.486 | 1861.1 | 63782.8557 | 65760.1242 | 2832.1189 | 5024.97 | 1.031 | 32945.6623 | 49081 | 0.32875 | 8546.7918 | 4812.1107 | 1658.5026
WECC_WY | WECC_WY_utilitypv_class1_advanced_2 | UtilityPV_Class1_Advanced_ | 44203.8 | 974897.121 | 54262 | 18611 | 8298.762 | 0.986 | 0.025 | 37.036 | 30 | 54418.1339 | 380 | 0.468 |  | 390465.6268 | 384999.108 | 18471.7229 | 11724.93 |  | 8298.762 | 1861.1 | 63782.8557 | 65760.1242 | 2832.1189 | 5024.97 | 1.031 | 38126.9383 | 54262 | 0.29735 | 8546.7918 | 4812.1107 | 4414.9414
WECC_WY | WECC_WY_utilitypv_class1_advanced_3 | UtilityPV_Class1_Advanced_ | 19806.4 | 974897.121 | 52803 | 18611 | 6839.795 | 0.986 | 0.025 | 36.548 | 30 | 52959.1669 | 381 | 0.468 |  | 390465.6268 | 384999.108 | 18471.7229 | 11724.93 |  | 6839.795 | 1861.1 | 63782.8557 | 65760.1242 | 2832.1189 | 5024.97 | 1.031 | 36667.9713 | 52803 | 0.30557 | 8546.7918 | 4812.1107 | 3638.7709
WECC_WY | WECC_WY_utilitypv_class1_advanced_4 | UtilityPV_Class1_Advanced_ | 86994.9 | 974897.121 | 59148 | 18611 | 13184.975 | 0.986 | 0.025 | 39.1 | 30 | 59304.3469 | 382 | 0.468 |  | 390465.6268 | 384999.108 | 18471.7229 | 11724.93 |  | 13184.975 | 1861.1 | 63782.8557 | 65760.1242 | 2832.1189 | 5024.97 | 1.031 | 43013.1513 | 59148 | 0.27279 | 8546.7918 | 4812.1107 | 7014.4067
WECC_WY | WECC_WY_utilitypv_class1_advanced_5 | UtilityPV_Class1_Advanced_ | 28224.1 | 974897.121 | 58515 | 18611 | 12551.733 | 0.986 | 0.025 | 39.146 | 30 | 58671.1049 | 383 | 0.468 |  | 390465.6268 | 384999.108 | 18471.7229 | 11724.93 |  | 12551.733 | 1861.1 | 63782.8557 | 65760.1242 | 2832.1189 | 5024.97 | 1.031 | 42379.9093 | 58515 | 0.27574 | 8546.7918 | 4812.1107 | 6677.522
WEC_SDGE | WEC_SDGE_utilitypv_class1_advanced_1 | UtilityPV_Class1_Advanced_ | 1764.2 | 974897.121 | 56588 | 18611 | 7225.84 | 1.059 | 0.025 | 36.314 | 30 | 56759.7293 | 403 | 0.468 |  | 390465.6268 | 413503.0988 | 19839.3048 | 11724.93 |  | 7225.84 | 1861.1 | 63782.8557 | 66461.7356 | 2862.3355 | 5024.97 | 1.042 | 39062.9864 | 56588 | 0.30969 | 8637.9797 | 4812.1107 | 3844.1469
WEC_SDGE | WEC_SDGE_utilitypv_class1_advanced_2 | UtilityPV_Class1_Advanced_ | 5604.7 | 974897.121 | 63852 | 18611 | 14489.906 | 1.059 | 0.025 | 38.828 | 30 | 64023.7953 | 404 | 0.468 |  | 390465.6268 | 413503.0988 | 19839.3048 | 11724.93 |  | 14489.906 | 1861.1 | 63782.8557 | 66461.7356 | 2862.3355 | 5024.97 | 1.042 | 46327.0524 | 63852 | 0.27446 | 8637.9797 | 4812.1107 | 7708.63
Storage AC Costs
region | Resource_type | technology | capex_mw | Inv_Cost_per_MWyr | Fixed_OM_Cost_per_MWyr | capex_mwh | Inv_Cost_per_MWhyr | Fixed_OM_Cost_per_MWhyr | Var_OM_Cost_per_MWh | Var_OM_Cost_per_MWh_In | regional_cost_multiplier | wacc_real |  | cap_recovery_years | R_ID
CA_N | CA_N_battery_advanced_0 | Battery_*_Advanced | 178049.733 | 14982 | 4451 | 231160.909 | 19451 | 5779 | 0.3 | 0.15 | 1.041 | 0.025 |  | 15 | 181
CA_S | CA_S_battery_advanced_0 | Battery_*_Advanced | 178049.733 | 14992 | 4451 | 231160.909 | 19465 | 5779 | 0.3 | 0.15 | 1.042 | 0.025 |  | 15 | 202
WECC_AZ | WECC_AZ_battery_advanced_0 | Battery_*_Advanced | 178049.733 | 14566 | 4451 | 231160.909 | 18911 | 5779 | 0.3 | 0.15 | 1.012 | 0.025 |  | 15 | 220
WECC_CO | WECC_CO_battery_advanced_0 | Battery_*_Advanced | 178049.733 | 14264 | 4451 | 231160.909 | 18519 | 5779 | 0.3 | 0.15 | 0.991 | 0.025 |  | 15 | 245
WECC_ID | WECC_ID_battery_advanced_0 | Battery_*_Advanced | 178049.733 | 14836 | 4451 | 231160.909 | 19262 | 5779 | 0.3 | 0.15 | 1.031 | 0.025 |  | 15 | 277
WECC_IID | WECC_IID_battery_advanced_0 | Battery_*_Advanced | 178049.733 | 14992 | 4451 | 231160.909 | 19465 | 5779 | 0.3 | 0.15 | 1.042 | 0.025 |  | 15 | 293
WECC_MT | WECC_MT_battery_advanced_0 | Battery_*_Advanced | 178049.733 | 14732 | 4451 | 231160.909 | 19127 | 5779 | 0.3 | 0.15 | 1.024 | 0.025 |  | 15 | 306
WECC_NM | WECC_NM_battery_advanced_0 | Battery_*_Advanced | 178049.733 | 14566 | 4451 | 231160.909 | 18911 | 5779 | 0.3 | 0.15 | 1.012 | 0.025 |  | 15 | 337
WECC_NNV | WECC_NNV_battery_advanced_0 | Battery_*_Advanced | 178049.733 | 14836 | 4451 | 231160.909 | 19262 | 5779 | 0.3 | 0.15 | 1.031 | 0.025 |  | 15 | 375
WECC_PNW | WECC_PNW_battery_advanced_0 | Battery_*_Advanced | 178049.733 | 14732 | 4451 | 231160.909 | 19127 | 5779 | 0.3 | 0.15 | 1.024 | 0.025 |  | 15 | 393
WECC_SNV | WECC_SNV_battery_advanced_0 | Battery_*_Advanced | 178049.733 | 14566 | 4451 | 231160.909 | 18911 | 5779 | 0.3 | 0.15 | 1.012 | 0.025 |  | 15 | 409
WECC_UT | WECC_UT_battery_advanced_0 | Battery_*_Advanced | 178049.733 | 14836 | 4451 | 231160.909 | 19262 | 5779 | 0.3 | 0.15 | 1.031 | 0.025 |  | 15 | 427
WECC_WY | WECC_WY_battery_advanced_0 | Battery_*_Advanced | 178049.733 | 14836 | 4451 | 231160.909 | 19262 | 5779 | 0.3 | 0.15 | 1.031 | 0.025 |  | 15 | 442
WEC_SDGE | WEC_SDGE_battery_advanced_0 | Battery_*_Advanced | 178049.733 | 14992 | 4451 | 231160.909 | 19465 | 5779 | 0.3 | 0.15 | 1.042 | 0.025 |  | 15 | 476
Standalone Storage DC Costs IRA
region | Resource_type | technology | wacc_real | cap_recovery_years | Capex MWh | Regional Multipliers | Regional Capex MWh | Investment Costs ($/MWh-dc/yr) 2.5%, 15 years, Bat Multipliers | Fixed Costs MWh |  | Grid Connection Investment (4.4%, 60 years, region specific) | Fixed O&M Grid Connection |  | Inverter Capex | Regional Inverter Capex | Investment Inverter Costs (2.5%, 30 years, Bat Multipliers) | Fixed O&M Inverter | R_ID
CA_N | CA_N_battery_advanced_0 | Battery_*_Advanced | 0.025 | 15 | 192484.4271 | 1.041 | 200376.2886 | 8629.6899 | 4812.1107 |  | 4250.5245 | 1861.1 |  | 63782.8557 | 66397.9527 | 2859.5886 | 5024.97 | 181 |  | 2758.5904
CA_S | CA_S_battery_advanced_0 | Battery_*_Advanced | 0.025 | 15 | 192484.4271 | 1.042 | 200568.7731 | 8637.9797 | 4812.1107 |  | 4250.5245 | 1861.1 |  | 63782.8557 | 66461.7356 | 2862.3355 | 5024.97 | 202 |  | 2758.5904
WECC_AZ | WECC_AZ_battery_advanced_0 | Battery_*_Advanced | 0.025 | 15 | 192484.4271 | 1.012 | 194794.2403 | 8389.2855 | 4812.1107 |  | 1889.122 | 1861.1 |  | 63782.8557 | 64548.2499 | 2779.9266 | 5024.97 | 220 |  | 1226.0402
WECC_CO | WECC_CO_battery_advanced_0 | Battery_*_Advanced | 0.025 | 15 | 192484.4271 | 0.991 | 190752.0673 | 8215.1995 | 4812.1107 |  | 1889.122 | 1861.1 |  | 63782.8557 | 63208.81 | 2722.2404 | 5024.97 | 245 |  | 1226.0402
WECC_ID | WECC_ID_battery_advanced_0 | Battery_*_Advanced | 0.025 | 15 | 192484.4271 | 1.031 | 198451.4444 | 8546.7918 | 4812.1107 |  | 1889.122 | 1861.1 |  | 63782.8557 | 65760.1242 | 2832.1189 | 5024.97 | 277 |  | 1226.0402
WECC_IID | WECC_IID_battery_advanced_0 | Battery_*_Advanced | 0.025 | 15 | 192484.4271 | 1.042 | 200568.7731 | 8637.9797 | 4812.1107 |  | 4250.5245 | 1861.1 |  | 63782.8557 | 66461.7356 | 2862.3355 | 5024.97 | 293 |  | 2758.5904
WECC_MT | WECC_MT_battery_advanced_0 | Battery_*_Advanced | 0.025 | 15 | 192484.4271 | 1.024 | 197104.0534 | 8488.7631 | 4812.1107 |  | 1889.122 | 1861.1 |  | 63782.8557 | 65313.6442 | 2812.8902 | 5024.97 | 306 |  | 1226.0402
WECC_NM | WECC_NM_battery_advanced_0 | Battery_*_Advanced | 0.025 | 15 | 192484.4271 | 1.012 | 194794.2403 | 8389.2855 | 4812.1107 |  | 1889.122 | 1861.1 |  | 63782.8557 | 64548.2499 | 2779.9266 | 5024.97 | 337 |  | 1226.0402
WECC_NNV | WECC_NNV_battery_advanced_0 | Battery_*_Advanced | 0.025 | 15 | 192484.4271 | 1.031 | 198451.4444 | 8546.7918 | 4812.1107 |  | 1889.122 | 1861.1 |  | 63782.8557 | 65760.1242 | 2832.1189 | 5024.97 | 375 |  | 1226.0402
WECC_PNW | WECC_PNW_battery_advanced_0 | Battery_*_Advanced | 0.025 | 15 | 192484.4271 | 1.024 | 197104.0534 | 8488.7631 | 4812.1107 |  | 1889.122 | 1861.1 |  | 63782.8557 | 65313.6442 | 2812.8902 | 5024.97 | 393 |  | 1226.0402
WECC_SNV | WECC_SNV_battery_advanced_0 | Battery_*_Advanced | 0.025 | 15 | 192484.4271 | 1.012 | 194794.2403 | 8389.2855 | 4812.1107 |  | 1889.122 | 1861.1 |  | 63782.8557 | 64548.2499 | 2779.9266 | 5024.97 | 409 |  | 1226.0402
WECC_UT | WECC_UT_battery_advanced_0 | Battery_*_Advanced | 0.025 | 15 | 192484.4271 | 1.031 | 198451.4444 | 8546.7918 | 4812.1107 |  | 1889.122 | 1861.1 |  | 63782.8557 | 65760.1242 | 2832.1189 | 5024.97 | 427 |  | 1226.0402
WECC_WY | WECC_WY_battery_advanced_0 | Battery_*_Advanced | 0.025 | 15 | 192484.4271 | 1.031 | 198451.4444 | 8546.7918 | 4812.1107 |  | 1889.122 | 1861.1 |  | 63782.8557 | 65760.1242 | 2832.1189 | 5024.97 | 442 |  | 1226.0402
WEC_SDGE | WEC_SDGE_battery_advanced_0 | Battery_*_Advanced | 0.025 | 15 | 192484.4271 | 1.042 | 200568.7731 | 8637.9797 | 4812.1107 |  | 4250.5245 | 1861.1 |  | 63782.8557 | 66461.7356 | 2862.3355 | 5024.97 | 476 |  | 2758.5904
Co-Located Storage DC Costs
region | Resource_type | technology | wacc_real | cap_recovery_years | Capex MWh | Regional Multipliers | Regional Capex MWh | Investment Costs ($/MWh-dc/yr) (2.5%, 15 years, Bat Multipliers) | Fixed Costs MWh | R_ID
CA_N | CA_N_battery_advanced_0 | Battery_*_Advanced | 0.025 | 15 | 192484.4271 | 1.041 | 200376.2886 | 8629.6899 | 4812.1107 | 181
CA_S | CA_S_battery_advanced_0 | Battery_*_Advanced | 0.025 | 15 | 192484.4271 | 1.042 | 200568.7731 | 8637.9797 | 4812.1107 | 202
WECC_AZ | WECC_AZ_battery_advanced_0 | Battery_*_Advanced | 0.025 | 15 | 192484.4271 | 1.012 | 194794.2403 | 8389.2855 | 4812.1107 | 220
WECC_CO | WECC_CO_battery_advanced_0 | Battery_*_Advanced | 0.025 | 15 | 192484.4271 | 0.991 | 190752.0673 | 8215.1995 | 4812.1107 | 245
WECC_ID | WECC_ID_battery_advanced_0 | Battery_*_Advanced | 0.025 | 15 | 192484.4271 | 1.031 | 198451.4444 | 8546.7918 | 4812.1107 | 277
WECC_IID | WECC_IID_battery_advanced_0 | Battery_*_Advanced | 0.025 | 15 | 192484.4271 | 1.042 | 200568.7731 | 8637.9797 | 4812.1107 | 293
WECC_MT | WECC_MT_battery_advanced_0 | Battery_*_Advanced | 0.025 | 15 | 192484.4271 | 1.024 | 197104.0534 | 8488.7631 | 4812.1107 | 306
WECC_NM | WECC_NM_battery_advanced_0 | Battery_*_Advanced | 0.025 | 15 | 192484.4271 | 1.012 | 194794.2403 | 8389.2855 | 4812.1107 | 337
WECC_NNV | WECC_NNV_battery_advanced_0 | Battery_*_Advanced | 0.025 | 15 | 192484.4271 | 1.031 | 198451.4444 | 8546.7918 | 4812.1107 | 375
WECC_PNW | WECC_PNW_battery_advanced_0 | Battery_*_Advanced | 0.025 | 15 | 192484.4271 | 1.024 | 197104.0534 | 8488.7631 | 4812.1107 | 393
WECC_SNV | WECC_SNV_battery_advanced_0 | Battery_*_Advanced | 0.025 | 15 | 192484.4271 | 1.012 | 194794.2403 | 8389.2855 | 4812.1107 | 409
WECC_UT | WECC_UT_battery_advanced_0 | Battery_*_Advanced | 0.025 | 15 | 192484.4271 | 1.031 | 198451.4444 | 8546.7918 | 4812.1107 | 427
WECC_WY | WECC_WY_battery_advanced_0 | Battery_*_Advanced | 0.025 | 15 | 192484.4271 | 1.031 | 198451.4444 | 8546.7918 | 4812.1107 | 442
WEC_SDGE | WEC_SDGE_battery_advanced_0 | Battery_*_Advanced | 0.025 | 15 | 192484.4271 | 1.042 | 200568.7731 | 8637.9797 | 4812.1107 | 476
Standalone Storage DC Costs IRA-
region | Resource_type | technology | wacc_real | cap_recovery_years | Capex MWh | Regional Multipliers | Regional Capex MWh | Investment Costs ($/MWh-dc/yr) 2.5%, 15 years, Bat Multipliers | Fixed Costs MWh |  | Grid Connection Investment (4.4%, 60 years, region specific) | Fixed O&M Grid Connection |  | Inverter Capex | Regional Inverter Capex | Investment Inverter Costs (2.5%, 30 years, Bat Multipliers) | Fixed O&M Inverter | R_ID
CA_N | CA_N_battery_advanced_0 | Battery_*_Advanced | 0.025 | 15 | 192484.4271 | 1.041 | 200376.2886 | 16221.2216 | 4812.1107 |  | 4250.5245 | 1861.1 |  | 63782.8557 | 66397.9527 | 5375.1664 | 5024.97 | 181
CA_S | CA_S_battery_advanced_0 | Battery_*_Advanced | 0.025 | 15 | 192484.4271 | 1.042 | 200568.7731 | 16236.8039 | 4812.1107 |  | 4250.5245 | 1861.1 |  | 63782.8557 | 66461.7356 | 5380.3299 | 5024.97 | 202
WECC_AZ | WECC_AZ_battery_advanced_0 | Battery_*_Advanced | 0.025 | 15 | 192484.4271 | 1.012 | 194794.2403 | 15769.3336 | 4812.1107 |  | 1889.122 | 1861.1 |  | 63782.8557 | 64548.2499 | 5225.426 | 5024.97 | 220
WECC_CO | WECC_CO_battery_advanced_0 | Battery_*_Advanced | 0.025 | 15 | 192484.4271 | 0.991 | 190752.0673 | 15442.1043 | 4812.1107 |  | 1889.122 | 1861.1 |  | 63782.8557 | 63208.81 | 5116.9932 | 5024.97 | 245
WECC_ID | WECC_ID_battery_advanced_0 | Battery_*_Advanced | 0.025 | 15 | 192484.4271 | 1.031 | 198451.4444 | 16065.3981 | 4812.1107 |  | 1889.122 | 1861.1 |  | 63782.8557 | 65760.1242 | 5323.5318 | 5024.97 | 277
WECC_IID | WECC_IID_battery_advanced_0 | Battery_*_Advanced | 0.025 | 15 | 192484.4271 | 1.042 | 200568.7731 | 16236.8039 | 4812.1107 |  | 4250.5245 | 1861.1 |  | 63782.8557 | 66461.7356 | 5380.3299 | 5024.97 | 293
WECC_MT | WECC_MT_battery_advanced_0 | Battery_*_Advanced | 0.025 | 15 | 192484.4271 | 1.024 | 197104.0534 | 15956.3217 | 4812.1107 |  | 1889.122 | 1861.1 |  | 63782.8557 | 65313.6442 | 5287.3876 | 5024.97 | 306
WECC_NM | WECC_NM_battery_advanced_0 | Battery_*_Advanced | 0.025 | 15 | 192484.4271 | 1.012 | 194794.2403 | 15769.3336 | 4812.1107 |  | 1889.122 | 1861.1 |  | 63782.8557 | 64548.2499 | 5225.426 | 5024.97 | 337
WECC_NNV | WECC_NNV_battery_advanced_0 | Battery_*_Advanced | 0.025 | 15 | 192484.4271 | 1.031 | 198451.4444 | 16065.3981 | 4812.1107 |  | 1889.122 | 1861.1 |  | 63782.8557 | 65760.1242 | 5323.5318 | 5024.97 | 375
WECC_PNW | WECC_PNW_battery_advanced_0 | Battery_*_Advanced | 0.025 | 15 | 192484.4271 | 1.024 | 197104.0534 | 15956.3217 | 4812.1107 |  | 1889.122 | 1861.1 |  | 63782.8557 | 65313.6442 | 5287.3876 | 5024.97 | 393
WECC_SNV | WECC_SNV_battery_advanced_0 | Battery_*_Advanced | 0.025 | 15 | 192484.4271 | 1.012 | 194794.2403 | 15769.3336 | 4812.1107 |  | 1889.122 | 1861.1 |  | 63782.8557 | 64548.2499 | 5225.426 | 5024.97 | 409
WECC_UT | WECC_UT_battery_advanced_0 | Battery_*_Advanced | 0.025 | 15 | 192484.4271 | 1.031 | 198451.4444 | 16065.3981 | 4812.1107 |  | 1889.122 | 1861.1 |  | 63782.8557 | 65760.1242 | 5323.5318 | 5024.97 | 427
WECC_WY | WECC_WY_battery_advanced_0 | Battery_*_Advanced | 0.025 | 15 | 192484.4271 | 1.031 | 198451.4444 | 16065.3981 | 4812.1107 |  | 1889.122 | 1861.1 |  | 63782.8557 | 65760.1242 | 5323.5318 | 5024.97 | 442
WEC_SDGE | WEC_SDGE_battery_advanced_0 | Battery_*_Advanced | 0.025 | 15 | 192484.4271 | 1.042 | 200568.7731 | 16236.8039 | 4812.1107 |  | 4250.5245 | 1861.1 |  | 63782.8557 | 66461.7356 | 5380.3299 | 5024.97 | 476
Note on AD28: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Check split